## 2 Apartment 1-3 Story No Baseme
Uniformat | System | Componenet % of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 12600
A1010 | Standard Foundations | 3.5398 | 7.7237 | 97318.9878 | Cost Per Square Foot: | 218.2
A1030 | Slab on Grade | 1.4262 | 3.1119 | 39210.15 | Building Cost: | 2749280.43
B1010 | Floor Construction | 23.0449 | 50.2832 | 633567.8784
B1020 | Roof Construction | 1.8139 | 3.958 | 49870.3728
B2010 | Exterior Walls | 6.3122 | 13.7729 | 173539.1538
B2020 | Exterior Windows | 6.6674 | 14.5481 | 183306.087
B2030 | Exterior Doors | 0.59157 | 1.2908 | 16264.0134
B3010 | Roof Coverings | 0.53787 | 1.1736 | 14787.5605
C1010 | Partitions | 4.5482 | 9.924 | 125042.7011
C1020 | Interior Doors | 8.1009 | 17.676 | 222717.7983
C1030 | Fittings | 3.4369 | 7.4993 | 94490.6835
C2010 | Stair Construction | 0.34049 | 0.74293 | 9360.9084
C3010 | Wall Finishes | 1.8159 | 3.9623 | 49924.3543
C3020 | Floor Finishes | 3.2829 | 7.1631 | 90255.4363
C3030 | Ceiling Finishes | 2.967 | 6.474 | 81572.1723
D2010 | Plumbing Fixtures | 4.909 | 10.7113 | 134962.4571
D2020 | Domestic Water Distribution | 3.7524 | 8.1877 | 103165.1468
D2040 | Rain Water Drainage | 0.36396 | 0.79416 | 10006.3591
D3010 | Energy Supply Systems | 0.62083 | 1.3546 | 17068.4127
D3020 | Heat Generating Systems | 2.5868 | 5.6443 | 71118.3862
D3030 | Cooling Generating Systems | 2.4833 | 5.4185 | 68273.6507
D3040 | Distribution Systems | 3.8285 | 8.3536 | 105255.2115
D3060 | Controls & Instrumentation | 0.82778 | 1.8062 | 22757.8836
D4010 | Sprinklers | 2.1182 | 4.6218 | 58235.1914
D5010 | Electrical Service/Distribution | 3.6158 | 7.8896 | 99409.4869
D5020 | Lighting and Branch Wiring | 4.562 | 9.9541 | 125421.0799
D5030 | Communications and Security | 0.73679 | 1.6076 | 20256.384
E1090 | Other Equipment | 1.1684 | 2.5494 | 32122.3229
Total |  | 100 | 218.1968 | 2749280.2303

## Squarefoot_Estimate
| Square Foot Cost Estimate Report |  |  | Date: | 4/21/2025
Estimate Name: | Apartment 1-3 Stories No Basement
Building Type: | Apartment, 1-3 Story with Fiber Cement / Wood Frame
Location: | HELENA, MT
Story Count: | 3
Story Height (L.F.): | 10.00
Floor Area (S.F.): | 12600
Labor Type: | STD
Basement Included: | No | [5 empty] | Assembly Customization Type:
Data Release: | Year 2025 Quarter 1 | Costs are derived from a building model with basic components. | [5 empty] | Added
Cost Per Square Foot: | $218.20 | Scope differences and market conditions can cause costs to vary significantly. | [5 empty] | Partially Swapped
Building Cost: | $2,749,280.43 | [6 empty] | Fully Swapped
|  | Quantity | % of Total | Cost Per S.F. | Cost
A | Substructure |  | 4.97 | 8.1 | 102077.86 | 1
A1010 | Standard Foundations |  |  | 5.77 | 72761.86 | 3
A10101051560 | Foundation wall, CIP, 4' wall height, direct chute, .148 CY/LF, 7.2 PLF, 12" thick | 340 |  | 2.81 | 35392.64 | 4
A10101103100 | Strip footing, concrete, reinforced, load 14.8 KLF, soil bearing capacity 6 KSF, 12" deep x 32" wide | 340 |  | 1.76 | 22205.74 | 4
A10102107700 | Spread footings, 3000 PSI concrete, load 200K, soil bearing capacity 6 KSF, 6' - 0" square x 20" deep | 13.44 |  | 1.2 | 15163.48 | 4
A1030 | Slab on Grade |  |  | 2.33 | 29316 | 3
A10301202240 | Slab on grade, 4" thick, non industrial, reinforced | 4200 |  | 2.33 | 29316 | 4
B | Shell |  | 38.97 | 63.57 | 800998.18 | 1
B1010 | Floor Construction |  |  | 37.59 | 473695.61 | 3
B10102103450 | Wood column, 8" x 8", 20' x 20' bay, 10' unsupported height, 133 BF/MSF, 160 PSF total allowable load | 12600 |  | 0.87 | 11017.44 | 4
B10102643050 | Wood beam and joist floor, 12"x16" girder, 8"x16" beam, 2x10 joists @ 16", 20'x20' bay, 75 PSF LL, 102 PSF total load | 8400 |  | 34.07 | 429257.22 | 4
B10107203750 | Fireproofing, gypsum board, fire rated, 3 layer, 1.5" thick, 8" steel column, 3 hour rating, 23 PLF | 612 |  | 2.65 | 33420.95 | 4
B1020 | Roof Construction |  |  | 2.96 | 37286.26 | 3
B10201027100 | Wood roof, truss, 4/12 slope, 24" O.C., 30' to 43' span | 4200 |  | 2.96 | 37286.26 | 4
B2010 | Exterior Walls |  |  | 10.3 | 129748.9 | 3
B20101484950 | Wood siding, 2"x6" studs 16"OC, insulated wall, 8" fiber cement siding | 8160 |  | 8.6 | 108299.52 | 4
B20101907600 | Insulation, fiberglass batts, 6" thick, R19 | 8160 |  | 1.7 | 21449.38 | 4
B2020 | Exterior Windows |  |  | 10.88 | 137051.28 | 3
B20201066650 | Windows, aluminum, sliding, standard glass, 5' x 3' | 136 |  | 10.88 | 137051.28 | 4
B2030 | Exterior Doors |  |  | 0.97 | 12160.01 | 3
B20302203500 | Door, steel 18 gauge, hollow metal, 1 door with frame, no label, 3'-6" x 7'-0" opening | 2.24 |  | 0.97 | 12160.01 | 4
B3010 | Roof Coverings |  |  | 0.88 | 11056.12 | 3
B30101401100 | Asphalt roofing, strip shingles, inorganic, Class A, 4" slope, 210-235 lbs/SQ | 4200 |  | 0.88 | 11056.12 | 4
C | Interiors |  | 24.49 | 39.96 | 503449.76 | 1
C1010 | Partitions |  |  | 7.42 | 93489.87 | 3
C10101241200 | Wood partition, 5/8"fire rated gypsum board face, none base,2 x 4,@ 16" OC framing,same opposite face, 0 insul | 5600 |  | 2.29 | 28908.54 | 4
C10101241425 | Wood partition, 5/8" fire rated gypsum board face, 1/4"sound deadening gypsum board, 2x4 @ 16" OC framing, same opposite face, sound attenuation insul | 5600 |  | 3.99 | 50334.7 | 4
C10101280700 | Gypsum board, 1 face only, exterior sheathing, fire resistant, 5/8" | 8160 |  | 0.76 | 9521.01 | 4
C10101280960 | Add for the following: taping and finishing | 8160 |  | 0.38 | 4725.62 | 4
C1020 | Interior Doors |  |  | 13.22 | 166517.98 | 3
C10201022600 | Door, single leaf, kd steel frame, hollow metal, commercial quality, flush, 3'-0" x 7'-0" x 1-3/8" | 95.45 |  | 11.69 | 147354.04 | 4
C10201101600 | Doors, interior fire door, drywall frame, 1-3/8" thick, 3'-0" x 7'-0" | 10.5 |  | 1.52 | 19163.94 | 4
C1030 | Fittings |  |  | 5.61 | 70647.24 | 3
C10308300115 | Cabinets, residential, base, hardwood, 1 top drawer & 1 door below x 24" W | 63.84 |  | 3.37 | 42458.93 | 4
C10308300140 | Cabinets, residential, wall, two doors x 48" wide | 31.92 |  | 1.63 | 20554.55 | 4
C10308300150 | Cabinets, residential, counter top-laminated plastic, stock, economy | 193.8 |  | 0.61 | 7633.76 | 4
C2010 | Stair Construction |  |  | 0.56 | 6998.81 | 3
C20101101120 | Stairs, wood, prefab box type, oak treads, wood rails 3'-6" wide, 14 risers | 3.36 |  | 0.56 | 6998.81 | 4
C3010 | Wall Finishes |  |  | 2.96 | 37326.62 | 3
C30102300140 | Painting, interior on plaster and drywall, walls & ceilings, roller work, primer & 2 coats | 21280 |  | 1.56 | 19656.76 | 4
C30102300140 | Painting, interior on plaster and drywall, walls & ceilings, roller work, primer & 2 coats | 8160 |  | 0.6 | 7537.56 | 4
C30102301940 | Ceramic tile, thin set, 4-1/4" x 4-1/4" | 1120 |  | 0.8 | 10132.3 | 4
C3020 | Floor Finishes |  |  | 5.36 | 67480.7 | 3
C30204100060 | Carpet tile, nylon, fusion bonded, 18" x 18" or 24" x 24", 24 oz | 6678 |  | 2.72 | 34293.33 | 4
C30204100080 | Carpet tile, nylon, fusion bonded, 18" x 18" or 24" x 24", 35 oz | 3150 |  | 1.41 | 17799.93 | 4
C30204101600 | Vinyl, composition tile, maximum | 1512 |  | 0.4 | 5054.48 | 4
C30204101720 | Tile, ceramic natural clay | 1260 |  | 0.82 | 10332.96 | 4
C3030 | Ceiling Finishes |  |  | 4.84 | 60988.54 | 3
C30301105400 | Gypsum board ceilings, 1/2" fire rated gypsum board, painted and textured finish, 7/8"resilient channel furring, 24" OC support | 12600 |  | 4.84 | 60988.54 | 4
D | Services |  | 30.41 | 49.6 | 624994.28 | 1
D2010 | Plumbing Fixtures |  |  | 8.01 | 100906.51 | 3
D20104101880 | Kitchen sink w/trim, countertop, stainless steel, 19" x 18" single bowl | 10.64 |  | 1.52 | 19090.02 | 4
D20104202040 | Laundry sink w/trim, plastic, on wall or legs, 18" x 23" single compartment | 2.24 |  | 0.21 | 2694.74 | 4
D20104404260 | Service sink w/trim, PE on CI, corner floor, 28" x 28", w/rim guard | 1.68 |  | 0.69 | 8681.23 | 4
D20109262160 | Bathroom, three fixture, 2 wall plumbing, lavatory, water closet & bathtub, stand alone | 10.64 |  | 5.59 | 70440.52 | 4
D2020 | Domestic Water Distribution |  |  | 6.12 | 77132.82 | 3
D20202401820 | Electric water heater, commercial, 100< F rise, 50 gallon tank, 9 KW 37 GPH | 10.64 |  | 6.12 | 77132.82 | 4
D2040 | Rain Water Drainage |  |  | 0.59 | 7481.39 | 3
D20402102040 | Roof drain, DWV PVC, 4" diam, diam, 10' high | 2.8 |  | 0.37 | 4606.91 | 4
D20402102080 | Roof drain, DWV PVC, 4" diam, for each additional foot add | 67.2 |  | 0.23 | 2874.48 | 4
D3010 | Energy Supply |  |  | 7.82 | 98554.81 | 3
D30105101840 | Apartment building heating system, fin tube radiation, forced hot water, 20,000 SF area,200,000 CF vol | 12600 |  | 7.82 | 98554.81 | 4
D3030 | Cooling Generating Systems |  |  | 9.06 | 114135.84 | 3
D30301103240 | Packaged chiller, air cooled, with fan coil unit, medical centers, 20,000 SF, 46.66 ton | 12600 |  | 9.06 | 114135.84 | 4
D4010 | Sprinklers |  |  | 3.46 | 43540.33 | 3
D40104100600 | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 5000 SF | 4158 |  | 1.66 | 20888.5 | 4
D40104100720 | Wet pipe sprinkler systems, steel, light hazard, each additional floor, 5000 SF | 8442 |  | 1.8 | 22651.83 | 4
D5010 | Electrical Service/Distribution |  |  | 5.9 | 74324.85 | 3
D50101200400 | Overhead service installation, includes breakers, metering, 20' conduit & wire, 3 phase, 4 wire, 120/208 V, 800 A | 1 |  | 1.37 | 17282.7 | 4
D50102300400 | Feeder installation 600 V, including RGS conduit and XHHW wire, 800 A | 150 |  | 3.02 | 38004.75 | 4
D50102400280 | Switchgear installation, incl switchboard, panels & circuit breaker, 120/208 V, 3 phase, 800 A | 1 |  | 1.51 | 19037.4 | 4
D5020 | Lighting and Branch Wiring |  |  | 7.44 | 93772.77 | 3
D50201100520 | Receptacles incl plate, box, conduit, wire, 10 per 1000 SF, 1.2 watts per SF | 12600 |  | 2.93 | 36949.5 | 4
D50201300320 | Wall switches, 2.5 per 1000 SF | 12600 |  | 0.56 | 7106.53 | 4
D50201350440 | Miscellaneous power, 2 watts | 12600 |  | 0.56 | 7100.98 | 4
D50201400240 | Central air conditioning power, 3 watts | 12600 |  | 0.64 | 8092.35 | 4
D50201450720 | Motor installation, three phase, 200 V, 15 HP motor size | 1 |  | 0.28 | 3473.23 | 4
D50202160200 | Incandescent fixtures recess mounted, type A, 1 watt per SF, 8 FC, 6 fixtures per 1000 SF | 12600 |  | 2.46 | 31050.18 | 4
D5030 | Communications and Security |  |  | 1.2 | 15144.96 | 3
D50309100452 | Communication and alarm systems, fire detection, addressable, 25 detectors, includes outlets, boxes, conduit and wire | 0.56 |  | 0.93 | 11747.46 | 4
D50309100460 | Fire alarm command center, addressable without voice, excl. wire & conduit | 1 |  | 0.27 | 3397.5 | 4
D50309200102 | Internet wiring, 2 data/voice outlets per 1000 S.F. | 1 |  | 0 | 0 | 4
E | Equipment & Furnishings |  | 1.17 | 1.91 | 24016.69 | 1
E1090 | Other Equipment |  |  | 1.91 | 24016.69 | 3
E10904100135 | Architectural equipment, appliances, range, 30" free standing, 1 oven, gas, average | 10.64 |  | 1.23 | 15460.11 | 4
E10904100170 | Architectural equipment, appliances, dish washer, built-in, 2 cycles, economy | 10.64 |  | 0.68 | 8556.58 | 4
F | Special Construction |  | 0 | 0 | 0 | 1
G | Building Sitework |  | 0 | 0 | 0 | 1
SubTotal |  |  | 100% | $163.14 | $2,055,536.77
Contractor Fees (General Conditions,Overhead,Profit) |  |  | 25.0% | $40.78 | $513,884.19
Architectural Fees |  |  | 7.0% | $14.27 | $179,859.47
User Fees |  |  | 0.0% | $0.00 | $0.00
Total Building Cost |  |  |  | $218.20 | $2,749,280.43