## 3 Athletic Facility
Uniformat | System | System % of Total Structure | Cost per S.F. | Cost | Floor Area (S.F.): | 57500
A1010 | Standard Foundations | 3.8 | 7.457 | 428776.5895 | Cost Per Square Foot: | 196.24
A1030 | Slab on Grade | 1.2 | 2.3548 | 135403.1335 | Building Cost: | 11283594.46
A2020 | Basement Walls | 2 | 3.9247 | 225671.8892
B1010 | Floor Construction | 5 | 9.8118 | 564179.723
B1020 | Roof Construction | 11 | 21.586 | 1241195.3906
B2010 | Exterior Walls | 3.7 | 7.2607 | 417492.995
B2020 | Exterior Windows | 3.2 | 6.2796 | 361075.0227
B2030 | Exterior Doors | 1.1 | 2.1586 | 124119.5391
B3010 | Roof Coverings | 3.4 | 6.672 | 383642.2116
B3020 | Roof Openings | 0.6 | 1.1774 | 67701.5668
C1010 | Partitions | 2.9 | 5.6909 | 327224.2393
C1020 | Interior Doors | 1.5 | 2.9435 | 169253.9169
C1030 | Fittings | 3.8 | 7.457 | 428776.5895
C2010 | Stair Construction | 1.2 | 2.3548 | 135403.1335
C3010 | Wall Finishes | 1.4 | 2.7473 | 157970.3224
C3020 | Floor Finishes | 2.3 | 4.5134 | 259522.6726
C3030 | Ceiling Finishes | 0.9 | 1.7661 | 101552.3501
D1010 | Elevators & Lifts | 1.2 | 2.3548 | 135403.1335
D2010 | Plumbing Fixtures | 3.7 | 7.2607 | 417492.995
D2020 | Domestic Water Distribution | 3.5 | 6.8683 | 394925.8061
D2030 | Sanitary Waste | 2.5 | 4.9059 | 282089.8615
D2040 | Rain Water Drainage | 1.3 | 2.5511 | 146686.728
D2050 | Pool Systems | 2.6 | 5.1021 | 293373.456
D3010 | Energy Supply | 1.337 | 2.6237 | 150861.6579
D3020 | Heat Generating Systems | 5.348 | 10.4947 | 603446.6317
D3030 | Cooling Generating Systems | 5.157 | 10.1199 | 581894.9663
D3040 | Distribution Systems | 7.258 | 14.2428 | 818963.2859
D3060 | Controls & Instrumentation | 1.5 | 2.9435 | 169253.9169
D4010 | Sprinklers | 2.8 | 5.4946 | 315940.6449
D4020 | Standpipes | 0.3 | 0.58871 | 33850.7834
D4030 | Fire Protection Specialties | 0.2 | 0.39247 | 22567.1889
D5010 | Electrical Service & Distribution | 3.3 | 6.4758 | 372358.6172
D5020 | Lighting & Branch Wiring | 5.2 | 10.2043 | 586746.9119
D5030 | Communications & Security | 2.8 | 5.4946 | 315940.6449
E2010 | Fixed Furnishings | 1 | 1.9624 | 112835.9446
Total |  | 100 | 196.2364 | 11283594.46

## Squarefoot_Estimate
| Square Foot Cost Estimate Report |  |  | Date: | 4/21/2025
Estimate Name: | Athletic Facility
Building Type: | Gymnasium with Concrete Block / Rigid Steel
Location: | HELENA, MT
Story Count: | 1
Story Height (L.F.): | 25.00
Floor Area (S.F.): | 57500
Labor Type: | STD
Basement Included: | No | [5 empty] | Assembly Customization Type:
Data Release: | Year 2025 Quarter 1 | Costs are derived from a building model with basic components. | [5 empty] | Added
Cost Per Square Foot: | $196.24 | Scope differences and market conditions can cause costs to vary significantly. | [5 empty] | Partially Swapped
Building Cost: | $11,283,594.46 | [6 empty] | Fully Swapped
|  | Quantity | % of Total | Cost Per S.F. | Cost
A | Substructure |  | 6.54 | 9.6 | 552096.45 | 1
A1010 | Standard Foundations |  |  | 2.62 | 150746.45 | 3
A10101051560 | Foundation wall, CIP, 4' wall height, direct chute, .148 CY/LF, 7.2 PLF, 12" thick | 775 |  | 1.4 | 80674.4 | 4
A10101102700 | Strip footing, concrete, reinforced, load 11.1 KLF, soil bearing capacity 6 KSF, 12" deep x 24" wide | 775 |  | 0.76 | 43567.01 | 4
A10102107200 | Spread footings, 3000 PSI concrete, load 50K, soil bearing capacity 6 KSF, 3' - 0" square x 12" deep | 86.25 |  | 0.35 | 20067.18 | 4
A10102107300 | Spread footings, 3000 PSI concrete, load 75K, soil bearing capacity 6 KSF, 4' - 0" square x 12" deep | 17.25 |  | 0.11 | 6437.86 | 4
A1030 | Slab on Grade |  |  | 6.98 | 401350 | 3
A10301202240 | Slab on grade, 4" thick, non industrial, reinforced | 57500 |  | 6.98 | 401350 | 4
B | Shell |  | 36.84 | 54.04 | 3107539.44 | 1
B1020 | Roof Construction |  |  | 35.51 | 2041564.09 | 3
B10201243251 | Steel frame for 1 story buildings, 60 - 100' span | 287.5 |  | 25.75 | 1480481.25 | 4
B10201311600 | Steel deck, 3" deep, 16 ga, single 20' span, 6.0 PSF, 40 PSF superimposed load | 59225 |  | 9.76 | 561082.84 | 4
B2010 | Exterior Walls |  |  | 4.05 | 232751.39 | 3
B20101115430 | Concrete block (CMU) wall, regular weight, hollow, 8 x 8 x 16, 2000 PSI, reinforced, vertical #5@32", grouted | 17437.5 |  | 4.05 | 232751.39 | 4
B2020 | Exterior Windows |  |  | 6.18 | 355387.88 | 3
B20201066400 | Windows, aluminum, double hung, insul.glass, 3'-0" x 4'-0" | 193.75 |  | 6.18 | 355387.88 | 4
B2030 | Exterior Doors |  |  | 0.8 | 45930.06 | 3
B20301108250 | Door, aluminum & glass, sliding patio, tempered glass, economy, 6'-0" x 7'-0" opening | 8.62 |  | 0.42 | 24075.39 | 4
B20302102900 | Door, wood, overhead, panels, heavy duty, manual operation, 10'-0" x 10'-0" opening | 5.75 |  | 0.24 | 13804.31 | 4
B20302204400 | Door, steel 24 gauge, overhead, sectional, manual operation, 10'-0" x 10'-0" opening | 2.88 |  | 0.14 | 8050.36 | 4
B3010 | Roof Coverings |  |  | 7.51 | 431906.02 | 3
B30101200300 | Drip edge, aluminum .016" thick, 5" girth, mill finish | 57500 |  | 0.07 | 4046.85 | 4
B30101203300 | Roofing, single ply membrane, EPDM, 60 mils, fully adhered | 59225 |  | 2.94 | 169040 | 4
B30103201750 | Insulation, rigid, roof deck, polyisocyanurate, 2#/CF, 3.5" thick | 59225 |  | 4.5 | 258819.17 | 4
C | Interiors |  | 17.7 | 25.97 | 1493524.21 | 1
C1010 | Partitions |  |  | 1.87 | 107618.5 | 3
C10101045500 | Concrete block (CMU) partition, light weight, hollow, 6" thick, no finish | 11500 |  | 1.87 | 107618.5 | 4
C1020 | Interior Doors |  |  | 3.09 | 177526.54 | 3
C10201022600 | Door, single leaf, kd steel frame, hollow metal, commercial quality, flush, 3'-0" x 7'-0" x 1-3/8" | 115 |  | 3.09 | 177526.54 | 4
C1030 | Fittings |  |  | 0.18 | 10519.72 | 3
C10301100460 | Toilet partitions, cubicles, ceiling hung, stainless steel | 4 |  | 0.18 | 10519.72 | 4
C3010 | Wall Finishes |  |  | 3.52 | 202162.25 | 3
C30102202000 | 2 coats paint on masonry with block filler | 17437.5 |  | 1.27 | 73095.56 | 4
C30102300320 | Painting, masonry or concrete, latex, brushwork, primer & 2 coats | 11500 |  | 0.44 | 25029.64 | 4
C30102301940 | Ceramic tile, thin set, 4-1/4" x 4-1/4" | 11500 |  | 1.81 | 104037.05 | 4
C3020 | Floor Finishes |  |  | 14.55 | 836553.01 | 3
C30204101720 | Tile, ceramic natural clay | 5750 |  | 0.82 | 47154.37 | 4
C30204102140 | Maple strip, sanded and finished, maximum | 51750 |  | 9.59 | 551634.3 | 4
C30204102260 | Add for sleepers on concrete, treated, 24" OC, 1"x2" | 51750 |  | 4.14 | 237764.34 | 4
C3030 | Ceiling Finishes |  |  | 2.77 | 159144.19 | 3
C30302107400 | Acoustic ceilings, 3/4"mineral fiber, 12" x 12" tile, concealed 2" bar & channel grid, suspended support | 8625 |  | 2.77 | 159144.19 | 4
D | Services |  | 34.05 | 49.95 | 2872163.22 | 1
D2010 | Plumbing Fixtures |  |  | 11.85 | 681206.75 | 3
D20101102080 | Water closet, vitreous china, bowl only with flush valve, wall hung | 78.2 |  | 5.44 | 313040.47 | 4
D20102102000 | Urinal, vitreous china, wall hung | 9.78 |  | 0.31 | 17560.74 | 4
D20103102080 | Lavatory w/trim, wall hung, PE on CI, 19" x 17" | 29.32 |  | 0.94 | 54005.65 | 4
D20104101960 | Kitchen sink w/trim, countertop, stainless steel, 33" x 22" double bowl | 4.89 |  | 0.2 | 11236.12 | 4
D20104404340 | Service sink w/trim, PE on CI,wall hung w/rim guard, 24" x 20" | 4.89 |  | 0.56 | 32084.97 | 4
D20107101680 | Shower, stall, baked enamel, terrazzo receptor, 36" square | 58.65 |  | 3.68 | 211557.88 | 4
D20108201880 | Water cooler, electric, wall hung, dual height, 14.3 GPH | 9.78 |  | 0.73 | 41720.92 | 4
D2020 | Domestic Water Distribution |  |  | 6.43 | 369591.77 | 3
D20202502260 | Gas fired water heater, commercial, 100< F rise, 600 MBH input, 576 GPH | 9.78 |  | 6.43 | 369591.77 | 4
D3050 | Terminal & Package Units |  |  | 12.8 | 735752.75 | 3
D30501501760 | Rooftop, single zone, air conditioner, banks or libraries, 10,000 SF, 41.67 ton | 57500 |  | 12.8 | 735752.75 | 4
D4010 | Sprinklers |  |  | 3.59 | 206388.2 | 3
D40104100620 | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 10,000 SF | 57500 |  | 3.59 | 206388.2 | 4
D4020 | Standpipes |  |  | 1.54 | 88651.74 | 3
D40203101580 | Wet standpipe risers, class III, steel, black, sch 40, 6" diam pipe, 1 floor | 2.88 |  | 1.11 | 63583.5 | 4
D40203101600 | Wet standpipe risers, class III, steel, black, sch 40, 6" diam pipe, additional floors | 4.31 |  | 0.44 | 25068.24 | 4
D5010 | Electrical Service/Distribution |  |  | 0.45 | 25739.16 | 3
D50101200320 | Overhead service installation, includes breakers, metering, 20' conduit & wire, 3 phase, 4 wire, 120/208 V, 400 A | 1 |  | 0.11 | 6374.63 | 4
D50102300320 | Feeder installation 600 V, including RGS conduit and XHHW wire, 400 A | 50 |  | 0.09 | 5444.63 | 4
D50102400200 | Switchgear installation, incl switchboard, panels & circuit breaker, 120/208 V, 3 phase, 400 A | 1 |  | 0.24 | 13919.9 | 4
D5020 | Lighting and Branch Wiring |  |  | 10.47 | 602095.96 | 3
D50201100440 | Receptacles incl plate, box, conduit, wire, 8 per 1000 SF, .9 watts per SF | 57500 |  | 2.73 | 157213.63 | 4
D50201300200 | Wall switches, 1.0 per 1000 SF | 57500 |  | 0.29 | 16476.05 | 4
D50201350280 | Miscellaneous power, 1 watt | 63250 |  | 0.32 | 18496.83 | 4
D50201400280 | Central air conditioning power, 4 watts | 57500 |  | 0.64 | 36759.75 | 4
D50202100520 | Fluorescent fixtures recess mounted in ceiling, 1.6 watt per SF, 40 FC, 10 fixtures @32watt per 1000 SF | 57500 |  | 6.49 | 373149.7 | 4
D5030 | Communications and Security |  |  | 2.64 | 151790.05 | 3
D50309100220 | Communication and alarm systems, includes outlets, boxes, conduit and wire, sound systems, 12 outlets | 3.39 |  | 1.35 | 77372.75 | 4
D50309100452 | Communication and alarm systems, fire detection, addressable, 25 detectors, includes outlets, boxes, conduit and wire | 2.88 |  | 1.05 | 60310.6 | 4
D50309100462 | Fire alarm command center, addressable with voice, excl.wire & conduit | 1 |  | 0.25 | 14106.7 | 4
D5090 | Other Electrical Systems |  |  | 0.19 | 10946.84 | 3
D50902100200 | Generator sets, w/battery, charger, muffler and transfer switch, gas/gasoline operated, 3 phase, 4 wire, 277/480 V, 7.5 kW | 8.14 |  | 0.19 | 10946.84 | 4
E | Equipment & Furnishings |  | 4.87 | 7.15 | 411008.99 | 1
E1090 | Other Equipment |  |  | 7.15 | 411008.99 | 3
E10906100130 | Architectural equipment, school equipment bleachers-telescoping, manual operation, 15 tier, economy (per seat) | 2300 |  | 6 | 344935.6 | 4
E10906100160 | Architectural equipment, school equipment, weight lifting gym, universal, deluxe | 2.88 |  | 0.73 | 41793.3 | 4
E10908100110 | Architectural equipment, sauna, prefabricated, including heater and controls, 7' high, 6' x 4' | 2.88 |  | 0.42 | 24280.09 | 4
F | Special Construction |  | 0 | 0 | 0 | 1
G | Building Sitework |  | 0 | 0 | 0 | 1
SubTotal |  |  | 100% | $146.72 | $8,436,332.31
Contractor Fees (General Conditions,Overhead,Profit) |  |  | 25.0% | $36.68 | $2,109,083.08
Architectural Fees |  |  | 7.0% | $12.84 | $738,179.08
User Fees |  |  | 0.0% | $0.00 | $0.00
Total Building Cost |  |  |  | $196.24 | $11,283,594.46