## 5 Central Heating Plant
Uniformat | System | Component % of Total | Cost per S.F. | Cost | 12000
A1010 | Standard Foundations | 3.65 | 31.94 | 383250 | 10500000
A1030 | Slab on Grade | 4.87 | 42.61 | 511350
B1010 | Floor Construction | 2.32 | 20.3 | 243600
B1020 | Roof Construction | 4.38 | 38.33 | 459900
B2010 | Exterior Walls | 2.92 | 25.55 | 306600
B2020 | Exterior Windows | 1.71 | 14.96 | 179550
B2030 | Exterior Doors | 1.22 | 10.67 | 128100
B3010 | Roof Coverings | 2.67 | 23.36 | 280350
C1010 | Partitions | 0.98 | 8.57 | 102900
C1020 | Interior Doors | 0.49 | 4.29 | 51450
C1030 | Fittings | 0.49 | 4.29 | 51450
C2010 | Stair Construction | 0.61 | 5.34 | 64050
C3010 | Wall Finishes | 0.61 | 5.34 | 64050
C3020 | Floor Finishes | 0.61 | 5.34 | 64050
D2010 | Plumbing Fixtures | 1.22 | 10.67 | 128100
D2020 | Domestic Water Distribution | 1.22 | 10.67 | 128100
D2040 | Rainwater Drainage | 1.22 | 10.67 | 128100
D3010 | Energy Supply Systems | 8.52 | 74.55 | 894600
D3020 | Heat Generating Systems | 25.57 | 223.74 | 2684850
D3040 | Distribution Systems | 17.06 | 149.27 | 1791300
D3060 | Controls & Instrumentation | 8.52 | 74.55 | 894600
D4010 | Fire Protection | 1.83 | 16.01 | 192150
D5010 | Electrical Service/Distribution | 7.31 | 63.96 | 767550
Total |  | 100 | 874.98 | 10500000

## Access Definition
CSI | System | Component % of Total Structure
A1010 | Footings/Foundation Walls | 4.8093
| Exterior Steps/Retaining Walls | 1.6525
| Floor Structure | 19.7458
| Interior Columns/Beams | 8.3757
| Structure | 2.3023
B2010 | Exterior Walls | 14.548
B2020 | Exterior Windows | 0.24718
B2030 | Exterior Doors/Hatches | 1.5184
B3010 | Insulation | 2.5918
C1010 | Interior Wall Systems | 0.99576
C1020 | Interior Doors/Hardware/Windows | 0.31073
| Toilet Partitions | 0.077684
| Signage/Directories | 0.55085
| Chalk/Tack/Whiteboards/Cabinets | 0.79096
| Lockers | 0.13418
C2010 | Stair Treads/Risers | 1.2571
C3010 | Wall Finishes | 0.33192
C3020 | Floor Finishes | 2.9308
C3030 | Ceilings | 1.024
D1010 | Elevator/Lift | 3.8983
D2020 | Supply Piping | 1.0664
D2030 | Waste Piping | 2.959
D2040 | Covering | 5.5367
D3000 | Distribution | 3.524
D3020 | Heating | 2.3305
D3030 | Cooling | 0.77684
D3040 | Ventilating | 0
D4010 | Extinguishing System | 5.4237
D5010 | Building Service | 0.73446
D5020 | Lighting | 2.8814
| Exit/Emergency Lighting/Alarms | 3.5805
| Fixtures | 0.61441
| Egress | 2.4788
Total |  | 100