## 8 Day Care Ctr
Uniformat | System | Componenet % of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 6000
A1010 | Standard Foundations | 4.8748 | 12.4382 | 74629.2342 | Cost Per Square Foot: | 255.15
A1030 | Slab on Grade | 3.4807 | 8.8812 | 53287.1024 | Building Cost: | 1530925.08
B1010 | Floor Construction | 0.33503 | 0.85484 | 5129.0495
B1020 | Roof Construction | 7.439 | 18.9809 | 113885.6795
B2010 | Exterior Walls | 9.2282 | 23.5463 | 141277.543
B2020 | Exterior Windows | 3.2984 | 8.416 | 50495.9939
B2030 | Exterior Doors | 5.8334 | 14.8841 | 89304.8443
B3010 | Roof Coverings | 3.7531 | 9.5762 | 57457.0745
C1010 | Partitions | 3.6865 | 9.4063 | 56437.7474
C1020 | Interior Doors | 2.1982 | 5.6088 | 33652.8507
C1030 | Fittings | 0.42131 | 1.075 | 6449.8979
C3010 | Wall Finishes | 1.2413 | 3.1673 | 19003.9728
C3020 | Floor Finishes | 3.8586 | 9.8453 | 59072.0866
C3030 | Ceiling Finishes | 5.7509 | 14.6736 | 88041.6433
D2010 | Plumbing Fixtures | 11.4186 | 29.1351 | 174810.4255
D2020 | Domestic Water Distribution | 1.6931 | 4.3201 | 25920.7858
D3010 | Energy Supply Systems | 0.81076 | 2.0687 | 12412.1588
D3020 | Heat Generating Systems | 3.3782 | 8.6196 | 51717.3283
D3030 | Cooling Generating Systems | 3.243 | 8.2748 | 49648.6352
D3040 | Distribution Systems | 4.9997 | 12.7569 | 76541.6459
D3060 | Controls & Instrumentation | 1.081 | 2.7583 | 16549.5451
D4010 | Sprinklers | 1.9167 | 4.8905 | 29343.0179
D4020 | Standpipes | 0.71115 | 1.8145 | 10887.138
D5010 | Electrical Service/Distribution | 1.1481 | 2.9294 | 17576.1137
D5020 | Lighting and Branch Wiring | 5.0402 | 12.8602 | 77161.0453
D5030 | Communications and Security | 0.80646 | 2.0577 | 12346.2256
D5090 | Other Electrical Systems | 0.037971 | 0.096885 | 581.3106
E1020 | Institutional Equipment | 8.3156 | 21.2175 | 127304.9829
Total |  | 100 | 255.1542 | 1530925.0786

## Squarefoot_Estimate
| Square Foot Cost Estimate Report |  |  | Date: | 4/21/2025
Estimate Name: | Day Care Center
Building Type: | Day Care Center with Brick Veneer / Wood Frame
Location: | HELENA, MT
Story Count: | 1
Story Height (L.F.): | 12.00
Floor Area (S.F.): | 6000
Labor Type: | STD
Basement Included: | No | [5 empty] | Assembly Customization Type:
Data Release: | Year 2025 Quarter 1 | Costs are derived from a building model with basic components. | [5 empty] | Added
Cost Per Square Foot: | $255.15 | Scope differences and market conditions can cause costs to vary significantly. | [5 empty] | Partially Swapped
Building Cost: | $1,530,925.08 | [6 empty] | Fully Swapped
|  | Quantity | % of Total | Cost Per S.F. | Cost
A | Substructure |  | 8.36 | 15.65 | 93883.55 | 1
A1010 | Standard Foundations |  |  | 9.13 | 54773.75 | 3
A10101051560 | Foundation wall, CIP, 4' wall height, direct chute, .148 CY/LF, 7.2 PLF, 12" thick | 320 |  | 5.55 | 33310.72 | 4
A10101102700 | Strip footing, concrete, reinforced, load 11.1 KLF, soil bearing capacity 6 KSF, 12" deep x 24" wide | 352 |  | 3.3 | 19787.86 | 4
A10102107200 | Spread footings, 3000 PSI concrete, load 50K, soil bearing capacity 6 KSF, 3' - 0" square x 12" deep | 7.2 |  | 0.28 | 1675.17 | 4
A1030 | Slab on Grade |  |  | 6.52 | 39109.8 | 3
A10301202220 | Slab on grade, 4" thick, non industrial, non reinforced | 6000 |  | 6.52 | 39109.8 | 4
B | Shell |  | 29.89 | 55.97 | 335816.65 | 1
B1010 | Floor Construction |  |  | 0.63 | 3764.44 | 3
B10102102900 | Wood column, 6" x 6", 20' x 25' bay, 12' unsupported height, 72 BF/MSF, 40 PSF total allowable load | 1500 |  | 0.11 | 661.31 | 4
B10102161450 | Wood beam, 3 - 2 x 14, Douglas Fir No. 2, 243 lbs/LF @ 18' span | 60 |  | 0.52 | 3103.13 | 4
B1020 | Roof Construction |  |  | 13.93 | 83585.82 | 3
B10202100890 | Wood roof truss, 2' OC, 60' span, 4:12 pitch, 1' overhang, 5/8" sheathing, 1x8 fascia, R30 insulation | 6000 |  | 13.93 | 83585.82 | 4
B2010 | Exterior Walls |  |  | 17.28 | 103689.94 | 3
B20101291400 | Brick veneer wall, standard face, 2x6 studs @ 16" back-up, running bond | 3264 |  | 17.28 | 103689.94 | 4
B2020 | Exterior Windows |  |  | 6.18 | 37061.28 | 3
B20202101150 | Aluminum flush tube frame, for 1/4"glass,1-3/4"x4", 5'x6' opening, 1 intermediate horizontal | 576 |  | 3.99 | 23946.62 | 4
B20202202000 | Glazing panel, plate glass, 1/4" thick, clear | 576 |  | 2.19 | 13114.66 | 4
B2030 | Exterior Doors |  |  | 10.92 | 65544.84 | 3
B20301106550 | Door, aluminum & glass, without transom, full vision, double door, hardware, 6'-0" x 7'-0" opening | 0.6 |  | 1.58 | 9489.6 | 4
B20302203950 | Door, steel 18 gauge, hollow metal, 1 door with frame, "A" label, 3'-0" x 7'-0" opening | 10.8 |  | 9.34 | 56055.24 | 4
B3010 | Roof Coverings |  |  | 7.03 | 42170.33 | 3
B30101401100 | Asphalt roofing, strip shingles, inorganic, Class A, 4" slope, 210-235 lbs/SQ | 6300 |  | 2.76 | 16584.18 | 4
B30103201700 | Insulation, rigid, roof deck, polyisocyanurate, 2#/CF, 3" thick | 6000 |  | 3.85 | 23115.78 | 4
B30106100200 | Gutters, box, aluminum, .032" thick, 5", enameled finish | 214.4 |  | 0.35 | 2111.51 | 4
B30106200200 | Downspout, aluminum, rectangular, 2" x 3", enameled, .024" thick | 60 |  | 0.06 | 358.86 | 4
C | Interiors |  | 17.16 | 32.13 | 192776.66 | 1
C1010 | Partitions |  |  | 6.9 | 41422.2 | 3
C10101241400 | Wood partition, 5/8" fire rated gypsum board face, 1/4"sound deadening gypsum board, 2x4 @ 16" OC framing, same opposite face, 1.5" fiberglas insulation | 4000 |  | 6.9 | 41422.2 | 4
C1020 | Interior Doors |  |  | 4.12 | 24699.34 | 3
C10201022600 | Door, single leaf, kd steel frame, hollow metal, commercial quality, flush, 3'-0" x 7'-0" x 1-3/8" | 16 |  | 4.12 | 24699.34 | 4
C1030 | Fittings |  |  | 0.79 | 4733.87 | 3
C10301100460 | Toilet partitions, cubicles, ceiling hung, stainless steel | 1.8 |  | 0.79 | 4733.87 | 4
C3010 | Wall Finishes |  |  | 2.32 | 13947.87 | 3
C30102300080 | Painting, interior on plaster and drywall, brushwork, primer & 2 coats | 3264 |  | 0.67 | 4041.71 | 4
C30102300080 | Painting, interior on plaster and drywall, brushwork, primer & 2 coats | 8000 |  | 1.65 | 9906.16 | 4
C3020 | Floor Finishes |  |  | 7.23 | 43355.66 | 3
C30204101600 | Vinyl, composition tile, maximum | 5700 |  | 3.18 | 19054.59 | 4
C30204101800 | Tile, quarry tile, mud set, minimum | 300 |  | 4.05 | 24301.07 | 4
C3030 | Ceiling Finishes |  |  | 10.77 | 64617.72 | 3
C30302106000 | Acoustic ceilings, 3/4" fiberglass board, 24" x 48" tile, tee grid, suspended support | 6000 |  | 10.77 | 64617.72 | 4
D | Services |  | 36.28 | 67.95 | 407703.03 | 1
D2010 | Plumbing Fixtures |  |  | 21.38 | 128301.23 | 3
D20101102080 | Water closet, vitreous china, bowl only with flush valve, wall hung | 13.26 |  | 8.85 | 53080.78 | 4
D20102102040 | Urinal, vitreous china, stall type | 1.02 |  | 0.52 | 3091.01 | 4
D20103101600 | Lavatory w/trim, vanity top, PE on CI, 19" x 16" oval | 13.26 |  | 2.84 | 17032.34 | 4
D20104101720 | Kitchen sink w/trim, countertop, PE on CI, 24" x 21", single bowl | 22.44 |  | 6.3 | 37812.3 | 4
D20104404260 | Service sink w/trim, PE on CI, corner floor, 28" x 28", w/rim guard | 1.02 |  | 0.88 | 5270.75 | 4
D20105102080 | Bathtub, recessed, PE on CI, mat bottom, 5' long | 1.02 |  | 0.55 | 3307.07 | 4
D20108201880 | Water cooler, electric, wall hung, dual height, 14.3 GPH | 2.04 |  | 1.45 | 8706.98 | 4
D2020 | Domestic Water Distribution |  |  | 3.17 | 19024.43 | 3
D20202401940 | Electric water heater, commercial, 100< F rise, 120 gal, 36 KW 147 GPH | 1.02 |  | 3.17 | 19024.43 | 4
D3010 | Energy Supply |  |  | 11.34 | 68058.54 | 3
D30105202000 | Commercial building heating system, fin tube radiation, forced hot water, 10,000 SF, 100,000 CF, total 2 floors | 6600 |  | 11.34 | 68058.54 | 4
D3050 | Terminal & Package Units |  |  | 13.96 | 83772.15 | 3
D30501704120 | Splt sys, air cooled condensing unit, schools and colleges, 10,000 SF, 38.33 ton | 6600 |  | 13.96 | 83772.15 | 4
D4010 | Sprinklers |  |  | 3.59 | 21536.16 | 3
D40104100620 | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 10,000 SF | 6000 |  | 3.59 | 21536.16 | 4
D4020 | Standpipes |  |  | 1.33 | 7990.56 | 3
D40203101540 | Wet standpipe risers, class III, steel, black, sch 40, 4" diam pipe, 1 floor | 0.6 |  | 1.33 | 7990.56 | 4
D5010 | Electrical Service/Distribution |  |  | 2.15 | 12899.9 | 3
D50101200280 | Overhead service installation, includes breakers, metering, 20' conduit & wire, 3 phase, 4 wire, 120/208 V, 200 A | 1 |  | 0.53 | 3191 | 4
D50102300280 | Feeder installation 600 V, including RGS conduit and XHHW wire, 200 A | 50 |  | 0.46 | 2748.95 | 4
D50102400200 | Switchgear installation, incl switchboard, panels & circuit breaker, 120/208 V, 3 phase, 400 A | 0.5 |  | 1.16 | 6959.95 | 4
D5020 | Lighting and Branch Wiring |  |  | 9.44 | 56631.96 | 3
D50201100200 | Receptacles incl plate, box, conduit, wire, 2.5 per 1000 SF, .3 watts per SF | 6000 |  | 1.87 | 11225.52 | 4
D50201300200 | Wall switches, 1.0 per 1000 SF | 6000 |  | 0.29 | 1719.24 | 4
D50201350200 | Miscellaneous power, to .5 watts | 6000 |  | 0.15 | 914.04 | 4
D50201400280 | Central air conditioning power, 4 watts | 6000 |  | 0.64 | 3835.8 | 4
D50202100520 | Fluorescent fixtures recess mounted in ceiling, 1.6 watt per SF, 40 FC, 10 fixtures @32watt per 1000 SF | 6000 |  | 6.49 | 38937.36 | 4
D5030 | Communications and Security |  |  | 1.51 | 9061.45 | 3
D50309100452 | Communication and alarm systems, fire detection, addressable, 25 detectors, includes outlets, boxes, conduit and wire | 0.27 |  | 0.94 | 5663.95 | 4
D50309100460 | Fire alarm command center, addressable without voice, excl. wire & conduit | 1 |  | 0.57 | 3397.5 | 4
D5090 | Other Electrical Systems |  |  | 0.07 | 426.65 | 3
D50902100280 | Generator sets, w/battery, charger, muffler and transfer switch, gas/gasoline operated, 3 phase, 4 wire, 277/480 V, 15 kW | 0.6 |  | 0.07 | 426.65 | 4
E | Equipment & Furnishings |  | 8.32 | 15.57 | 93434.85 | 1
E1020 | Institutional Equipment |  |  | 15.57 | 93434.85 | 3
E10207300120 | Architectural equipment, laboratory equipment, cabinets, base, drawer units | 45 |  | 15.57 | 93434.85 | 4
E1090 | Other Equipment |  |  | 0 | 0 | 3
F | Special Construction |  | 0 | 0 | 0 | 1
G | Building Sitework |  | 0 | 0 | 0 | 1
SubTotal |  |  | 100% | $187.27 | $1,123,614.74
Contractor Fees (General Conditions,Overhead,Profit) |  |  | 25.0% | $46.82 | $280,903.69
Architectural Fees |  |  | 9.0% | $21.07 | $126,406.66
User Fees |  |  | 0.0% | $0.00 | $0.00
Total Building Cost |  |  |  | $255.15 | $1,530,925.08