## 11 Dorm 4-8 Story.xlsx
Uniformat | System | Componenet % of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 85000
A1010 | Standard Foundations | 1.7611 | 4.1657 | 354087.5833 | Cost Per Square Foot: | 236.55
A1030 | Slab on Grade | 0.65778 | 1.556 | 132256.4539 | Building Cost: | 20106385.81
A2020 | Basement Walls | 1.1325 | 2.6789 | 227709.375
B1010 | Floor Construction | 26.6682 | 63.0824 | 5362008.1822
B1020 | Roof Construction | 2.2149 | 5.2394 | 445346.1445
B2010 | Exterior Walls | 9.0867 | 21.4942 | 1827003.6001
B2020 | Exterior Windows | 3.2177 | 7.6113 | 646962.66
B2030 | Exterior Doors | 0.48224 | 1.1407 | 96960.0563
B3010 | Roof Coverings | 0.99417 | 2.3517 | 199891.4749
B3020 | Roof Openings | 0.14725 | 0.34831 | 29605.9905
C1010 | Partitions | 4.5196 | 10.6908 | 908718.5924
C1020 | Interior Doors | 3.6369 | 8.603 | 731251.7362
C1030 | Fittings | 0.86668 | 2.0501 | 174258.4746
C2010 | Stair Construction | 2.8235 | 6.679 | 567713.2438
C3010 | Wall Finishes | 4.4157 | 10.4452 | 887840.097
C3020 | Floor Finishes | 2.9756 | 7.0387 | 598289.9115
C3030 | Ceiling Finishes | 0.60895 | 1.4404 | 122437.1174
D1010 | Elevators and Lifts | 8.0898 | 19.1361 | 1626571.2001
D2010 | Plumbing Fixtures | 4.6731 | 11.0539 | 939582.0202
D2020 | Domestic Water Distribution | 1.8761 | 4.4379 | 377218.9369
D2040 | Rain Water Drainage | 0.17095 | 0.40438 | 34372.038
D3010 | Energy Supply | 2.511 | 5.9397 | 504874.8188
D3030 | Cooling Generating Systems | 4.9063 | 11.6057 | 986483.4907
D4010 | Sprinklers | 1.5517 | 3.6706 | 311998.9728
D4020 | Standpipes | 0.44234 | 1.0463 | 88939.1758
D5010 | Electrical Service/Distribution | 0.6059 | 1.4332 | 121823.8603
D5020 | Lighting and Branch Wiring | 6.1925 | 14.6481 | 1245089.9984
D5030 | Communications and Security | 2.7707 | 6.554 | 557090.6048
Total |  | 100 | 236.5457 | 20106385.81

## Squarefoot_Estimate
| Square Foot Cost Estimate Report |  |  | Date: | 4/25/2025
Estimate Name: | Dorm 4-8 Story
Building Type: | College, Dormitory, 4-8 Story with Brick Veneer / Reinforced Concrete
Location: | HELENA, MT
Story Count: | 6
Story Height (L.F.): | 12.00
Floor Area (S.F.): | 85000
Labor Type: | STD
Basement Included: | Yes | [5 empty] | Assembly Customization Type:
Data Release: | Year 2025 Quarter 1 | Costs are derived from a building model with basic components. | [5 empty] | Added
Cost Per Square Foot: | $236.55 | Scope differences and market conditions can cause costs to vary significantly. | [5 empty] | Partially Swapped
Building Cost: | $20,106,385.81 | [6 empty] | Fully Swapped
|  | Quantity | % of Total | Cost Per S.F. | Cost
A | Substructure |  | 3.55 | 6.28 | 533871.71 | 1
A1010 | Standard Foundations |  |  | 3.11 | 264738.38 | 3
A10101103100 | Strip footing, concrete, reinforced, load 14.8 KLF, soil bearing capacity 6 KSF, 12" deep x 32" wide | 500 |  | 0.38 | 32655.5 | 4
A10102107900 | Spread footings, 3000 PSI concrete, load 400K, soil bearing capacity 6 KSF, 8' - 6" square x 27" deep | 84.16 |  | 2.73 | 232082.88 | 4
A1030 | Slab on Grade |  |  | 1.16 | 98883.33 | 3
A10301202240 | Slab on grade, 4" thick, non industrial, reinforced | 14166.67 |  | 1.16 | 98883.33 | 4
A2020 | Basement Walls |  |  | 2 | 170250 | 3
A20201107280 | Foundation wall, CIP, 12' wall height, pumped, .52 CY/LF, 24.29 PLF, 14" thick | 500 |  | 2 | 170250 | 4
B | Shell |  | 42.81 | 75.71 | 6435721.95 | 1
B1010 | Floor Construction |  |  | 47.16 | 4008978.08 | 3
B10102031060 | Cast-in-place concrete column, 16" square, tied, 400K load, 12' story height, 251 lbs/LF, 4000PSI | 1009.98 |  | 1.7 | 144774.57 | 4
B10102049913 | Cast-in-place concrete column, 12", square, tied, minimum reinforcing, 150K load, 10'-14' story height, 135 lbs/LF, 4000PSI | 288 |  | 0.28 | 23948.21 | 4
B10102049918 | Cast-in-place concrete column, 16", square, tied, minimum reinforcing, 300K load, 10'-14' story height, 240 lbs/LF, 4000PSI | 864 |  | 1.2 | 102299.33 | 4
B10102049924 | Cast-in-place concrete column, 20", square, tied, minimum reinforcing, 500K load, 10'-14' story height, 375 lbs/LF, 4000PSI | 648 |  | 1.31 | 111307.28 | 4
B10102154450 | Concrete I beam, precast, 18" x 36", 790 PLF, 25' span, 6.44 KLF superimposed load | 2610 |  | 18.45 | 1568184.57 | 4
B10102205100 | Cast-in-place concrete beam and slab, 7.5" slab, two way, 12" column, 25'x25' bay, 40 PSF superimposed load, 149 PSF total load | 70833.33 |  | 20.95 | 1780987.29 | 4
B10102221720 | Flat slab, concrete, with drop panels, 6" slab/2.5" panel, 12" column, 15'x15' bay, 75 PSF superimposed load, 153 PSF total load | 14166.67 |  | 3.26 | 277476.83 | 4
B1020 | Roof Construction |  |  | 3.92 | 332969.08 | 3
B10207257000 | Roof, concrete, beam and slab, 25'x25' bay, 40 PSF superimposed load, 20" deep beam, 9" slab, 152 PSF total load | 14166.67 |  | 3.92 | 332969.08 | 4
B2010 | Exterior Walls |  |  | 16.07 | 1365984 | 3
B20101321201 | Brick wall, composite double wythe, standard face/CMU back-up, 8" thick, perlite core fill, 3" XPS | 28800 |  | 16.07 | 1365984 | 4
B2020 | Exterior Windows |  |  | 5.69 | 483710.4 | 3
B20201066650 | Windows, aluminum, sliding, standard glass, 5' x 3' | 480 |  | 5.69 | 483710.4 | 4
B2030 | Exterior Doors |  |  | 0.85 | 72493.5 | 3
B20301106350 | Door, aluminum & glass, without transom, narrow stile, double door, hardware, 6'-0" x 7'-0" opening | 2 |  | 0.29 | 24789 | 4
B20301106600 | Door, aluminum & glass, without transom, non-standard, hardware, 3'-0" x 7'-0" opening | 6 |  | 0.56 | 47704.5 | 4
B3010 | Roof Coverings |  |  | 1.76 | 149451.57 | 3
B30101203400 | Roofing, single ply membrane, EPDM, 60 mils, loosely laid, stone ballast | 14166.67 |  | 0.42 | 35477.73 | 4
B30103202700 | Insulation, rigid, roof deck, extruded polystyrene, 40 PSI compressive strength, 4" thick, R20 | 14166.67 |  | 1.08 | 91700.98 | 4
B30104201400 | Roof edges, aluminum, duranodic, .050" thick, 6" face | 500 |  | 0.14 | 12322.58 | 4
B30104300040 | Flashing, aluminum, no backing sides, .019" | 500 |  | 0.05 | 4230.33 | 4
B30106305100 | Gravel stop, aluminum, extruded, 4", mill finish, .050" thick | 500 |  | 0.07 | 5719.95 | 4
B3020 | Roof Openings |  |  | 0.26 | 22135.32 | 3
B30202100300 | Roof hatch, with curb, 1" fiberglass insulation, 2'-6" x 3'-0", galvanized steel, 165 lbs | 4 |  | 0.12 | 10034.7 | 4
B30202102100 | Smoke hatch, unlabeled, galvanized, 2'-6" x 3', not incl hand winch operator | 4 |  | 0.14 | 12100.62 | 4
C | Interiors |  | 19.85 | 35.1 | 2983558.26 | 1
C1010 | Partitions |  |  | 7.99 | 679415.77 | 3
C10101049000 | Concrete block (CMU) partition, light weight, hollow, 6" thick, no finish, foamed in insulation | 9444.44 |  | 1.18 | 100676.27 | 4
C10101265425 | Metal partition, 5/8"fire rated gypsum board face, no base,3 -5/8" @ 24" OC framing, same opposite face, sound attenuation insulation | 85000 |  | 6.81 | 578739.5 | 4
C1020 | Interior Doors |  |  | 6.43 | 546730.27 | 3
C10201022600 | Door, single leaf, kd steel frame, hollow metal, commercial quality, flush, 3'-0" x 7'-0" x 1-3/8" | 354.17 |  | 6.43 | 546730.27 | 4
C1030 | Fittings |  |  | 1.53 | 130286.71 | 3
C10301100400 | Toilet partitions, cubicles, ceiling hung, painted metal | 75 |  | 0.9 | 76231.13 | 4
C10307100170 | Bathroom accessories, stainless steel, mirror, framed, with shelf, 72" x 24" | 75 |  | 0.64 | 54055.58 | 4
C2010 | Stair Construction |  |  | 4.99 | 424458.5 | 3
C20101100760 | Stairs, steel, pan tread for conc in-fill, picket rail,20 risers w/ landing | 20 |  | 4.99 | 424458.5 | 4
C3010 | Wall Finishes |  |  | 7.81 | 663805.68 | 3
C30102202000 | 2 coats paint on masonry with block filler | 28800 |  | 1.42 | 120725.57 | 4
C30102202000 | 2 coats paint on masonry with block filler | 18888.89 |  | 0.93 | 79179.58 | 4
C30102300140 | Painting, interior on plaster and drywall, walls & ceilings, roller work, primer & 2 coats | 132222.22 |  | 1.44 | 122136.31 | 4
C30102301940 | Ceramic tile, thin set, 4-1/4" x 4-1/4" | 37777.78 |  | 4.02 | 341764.22 | 4
C3020 | Floor Finishes |  |  | 5.26 | 447319.56 | 3
C30204100060 | Carpet tile, nylon, fusion bonded, 18" x 18" or 24" x 24", 24 oz | 68000 |  | 4.11 | 349198.36 | 4
C30204101600 | Vinyl, composition tile, maximum | 8500 |  | 0.33 | 28414.74 | 4
C30204101720 | Tile, ceramic natural clay | 8500 |  | 0.82 | 69706.46 | 4
C3030 | Ceiling Finishes |  |  | 1.08 | 91541.77 | 3
C30302106000 | Acoustic ceilings, 3/4" fiberglass board, 24" x 48" tile, tee grid, suspended support | 8500 |  | 1.08 | 91541.77 | 4
D | Services |  | 33.79 | 59.76 | 5079659.9 | 1
D1010 | Elevators and Lifts |  |  | 14.31 | 1216128 | 3
D10101109350 | Traction, geared passenger, 4000 lb, 6 floors, 12' story height, 2 car group, 200 FPM | 4 |  | 14.31 | 1216128 | 4
D2010 | Plumbing Fixtures |  |  | 8.26 | 702491.23 | 3
D20101102080 | Water closet, vitreous china, bowl only with flush valve, wall hung | 75 |  | 3.53 | 300230.63 | 4
D20103102160 | Lavatory w/trim, wall hung, vitreous china, 18" x 15" | 75 |  | 1.43 | 121322.25 | 4
D20104202200 | Laundry sink w/trim, stainless steel, countertop, 22" x 17" single compartment | 12 |  | 0.11 | 9770.39 | 4
D20104404380 | Service sink w/trim, vitreous china, wall hung 22" x 20" | 6 |  | 0.44 | 37051.8 | 4
D20107101840 | Shower, stall, fiberglass 1 piece, three walls, 36" square | 93 |  | 2.25 | 190903.43 | 4
D20108201920 | Water cooler, electric, wall hung, wheelchair type, 7.5 GPH | 17 |  | 0.51 | 43212.73 | 4
D2020 | Domestic Water Distribution |  |  | 3.32 | 282032.85 | 3
D20202402100 | Electric water heater, commercial, 100< F rise, 300 gal, 180 KW 738 GPH | 3.3 |  | 3.32 | 282032.85 | 4
D2040 | Rain Water Drainage |  |  | 0.3 | 25698.72 | 3
D20402102040 | Roof drain, DWV PVC, 4" diam, diam, 10' high | 6 |  | 0.12 | 9871.95 | 4
D20402102080 | Roof drain, DWV PVC, 4" diam, for each additional foot add | 370 |  | 0.19 | 15826.77 | 4
D3010 | Energy Supply |  |  | 4.44 | 377476.5 | 3
D30105202040 | Commercial building heating system, fin tube radiation, forced hot water, 100,000 SF, 1mil CF, total 3 floors | 85000 |  | 4.44 | 377476.5 | 4
D3030 | Cooling Generating Systems |  |  | 8.68 | 737557.75 | 3
D30301103280 | Packaged chiller, air cooled, with fan coil unit, medical centers, 40,000 SF, 93.33 ton | 85000 |  | 8.68 | 737557.75 | 4
D4010 | Sprinklers |  |  | 2.74 | 233270.26 | 3
D40104100620 | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 10,000 SF | 14450 |  | 0.61 | 51866.25 | 4
D40104100740 | Wet pipe sprinkler systems, steel, light hazard, each additional floor, 10,000 SF | 70550 |  | 2.05 | 174617.6 | 4
D40104108940 | Standard High Rise Accessory Package 8 story | 0.75 |  | 0.08 | 6786.41 | 4
D4020 | Standpipes |  |  | 0.78 | 66496.58 | 3
D40203301580 | Dry standpipe risers, class III, steel, black, sch 40, 6" diam pipe, 1 floor | 1.2 |  | 0.18 | 15444.03 | 4
D40203301600 | Dry standpipe risers, class III, steel, black, sch 40, 6" diam pipe, additional floors | 6 |  | 0.28 | 24058.05 | 4
D40204103550 | Fire pump, electric, with controller, 4" pump, 30 HP, 500 GPM | 1 |  | 0.32 | 26994.5 | 4
D5010 | Electrical Service/Distribution |  |  | 1.07 | 91083.26 | 3
D50101301400 | Underground service installation, includes excavation, backfill, and compaction, 100' length, 4' depth, 3 phase, 4 wire, 277/480 volts, 800 A | 1.25 |  | 0.5 | 42901.88 | 4
D50102300400 | Feeder installation 600 V, including RGS conduit and XHHW wire, 800 A | 100 |  | 0.3 | 25336.5 | 4
D50102400280 | Switchgear installation, incl switchboard, panels & circuit breaker, 120/208 V, 3 phase, 800 A | 1.2 |  | 0.27 | 22844.88 | 4
D5020 | Lighting and Branch Wiring |  |  | 10.95 | 930908.41 | 3
D50201100720 | Receptacles incl plate, box, conduit, wire, 20 per 1000 SF,2.4 W per SF, with transformer | 63750 |  | 4.31 | 366150.04 | 4
D50201300360 | Wall switches, 5.0 per 1000 SF | 59500 |  | 0.85 | 72377.59 | 4
D50201350200 | Miscellaneous power, to .5 watts | 85000 |  | 0.15 | 12948.9 | 4
D50201400280 | Central air conditioning power, 4 watts | 85000 |  | 0.64 | 54340.5 | 4
D50201452080 | Motor installation, three phase, 460 V, 15 HP motor size | 2 |  | 0.06 | 5215.45 | 4
D50201550440 | Motor feeder systems, three phase, feed to 200 V 5 HP, 230 V 7.5 HP, 460 V 15 HP, 575 V 20 HP | 200 |  | 0.03 | 2279 | 4
D50202100500 | Fluorescent fixtures recess mounted in ceiling, 0.8 watt per SF, 20 FC, 5 fixtures @32 watt per 1000 SF | 127500 |  | 4.91 | 417596.93 | 4
D5030 | Communications and Security |  |  | 4.9 | 416516.34 | 3
D50303101020 | Telephone wiring for offices & laboratories, 8 jacks/MSF | 63750 |  | 1.49 | 126420.08 | 4
D50309100452 | Communication and alarm systems, fire detection, addressable, 25 detectors, includes outlets, boxes, conduit and wire | 1.2 |  | 0.3 | 25173.12 | 4
D50309100462 | Fire alarm command center, addressable with voice, excl.wire & conduit | 1 |  | 0.17 | 14106.7 | 4
D50309100640 | Communication and alarm systems, includes outlets, boxes, conduit and wire, intercom systems, 100 stations | 1.1 |  | 2.08 | 176466.4 | 4
D50309101000 | Communication and alarm systems, includes outlets, boxes, conduit and wire, master TV antenna systems, 30 outlets | 1.9 |  | 0.87 | 74350.04 | 4
D50309200110 | Internet wiring, 8 data/voice outlets per 1000 S.F. | 1 |  | 0 | 0 | 4
E | Equipment & Furnishings |  | 0 | 0 | 0 | 1
E1090 | Other Equipment |  |  | 0 | 0 | 3
F | Special Construction |  | 0 | 0 | 0 | 1
G | Building Sitework |  | 0 | 0 | 0 | 1
SubTotal |  |  | 100% | $176.86 | $15,032,811.82
Contractor Fees (General Conditions,Overhead,Profit) |  |  | 25.0% | $44.21 | $3,758,202.96
Architectural Fees |  |  | 7.0% | $15.47 | $1,315,371.03
User Fees |  |  | 0.0% | $0.00 | $0.00
Total Building Cost |  |  |  | $236.55 | $20,106,385.81