## 12 Facilities Shop
Uniformat | System | Componenet % of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 8500
A1010 | Standard Foundations | 9.5 | 13.3339 | 113337.8339 | Cost Per Square Foot: | 140.36
A1030 | Slab on Grade | 7.5 | 10.5267 | 89477.2373 | Building Cost: | 1193029.83
B1010 | Floor Construction | 3.8 | 5.3335 | 45335.1335
B1020 | Roof Construction | 15.2 | 21.3342 | 181340.5342
B2010 | Exterior Walls | 18.8 | 26.387 | 224289.608
B2020 | Exterior Windows | 1.2 | 1.6843 | 14316.358
B2030 | Exterior Doors | 1.6 | 2.2457 | 19088.4773
B3010 | Roof Coverings | 11 | 15.4392 | 131233.2813
B3020 | Roof Openings | 2.9 | 4.0703 | 34597.8651
C1010 | Partitions | 2 | 2.8071 | 23860.5966
C1020 | Interior Doors | 0.6 | 0.84214 | 7158.179
C3010 | Wall Finishes | 1.1 | 1.5439 | 13123.3281
C3020 | Floor Finishes | 2.2 | 3.0878 | 26246.6563
D2010 | Plumbing Fixtures | 0.7 | 0.9825 | 8351.2088
D2020 | Domestic Water Distribution | 0.25 | 0.35089 | 2982.5746
D2040 | Rain Water Drainage | 0.75 | 1.0527 | 8947.7237
D3010 | Energy Supply Systems | 0.384 | 0.53897 | 4581.2345
D3020 | Heat Generating Systems | 1.6 | 2.2457 | 19088.4773
D3030 | Cooling Generating Systems | 1.536 | 2.1559 | 18324.9382
D3040 | Distribution Systems | 2.368 | 3.3236 | 28250.9464
D3060 | Controls & Instrumentation | 0.512 | 0.71863 | 6108.3127
D4010 | Sprinklers | 4.4 | 6.1757 | 52493.3125
D4020 | Standpipes | 0.7 | 0.9825 | 8351.2088
D5010 | Electrical Service/Distribution | 2.2 | 3.0878 | 26246.6563
D5020 | Lighting and Branch Wiring | 4.8 | 6.7371 | 57265.4318
D5030 | Communications and Security | 2.4 | 3.3686 | 28632.7159
Total |  | 100 | 140.3565 | 1193029.83

## Squarefoot_Estimate
| Square Foot Cost Estimate Report |  |  | Date: | 4/22/2025
Estimate Name: | Facilities Shop
Building Type: | Warehouse with Metal Panel / Rigid Steel
Location: | HELENA, MT
Story Count: | 1
Story Height (L.F.): | 16.00
Floor Area (S.F.): | 8500
Labor Type: | STD
Basement Included: | No | [5 empty] | Assembly Customization Type:
Data Release: | Year 2025 Quarter 1 | Costs are derived from a building model with basic components. | [5 empty] | Added
Cost Per Square Foot: | $140.36 | Scope differences and market conditions can cause costs to vary significantly. | [5 empty] | Partially Swapped
Building Cost: | $1,193,029.83 | [6 empty] | Fully Swapped
|  | Quantity | % of Total | Cost Per S.F. | Cost
A | Substructure |  | 16.79 | 17.62 | 149802.18 | 1
A1010 | Standard Foundations |  |  | 9.78 | 83100.98 | 3
A10101051560 | Foundation wall, CIP, 4' wall height, direct chute, .148 CY/LF, 7.2 PLF, 12" thick | 485 |  | 5.94 | 50486.56 | 4
A10101102700 | Strip footing, concrete, reinforced, load 11.1 KLF, soil bearing capacity 6 KSF, 12" deep x 24" wide | 485 |  | 3.21 | 27264.52 | 4
A10102107410 | Spread footings, 3000 PSI concrete, load 100K, soil bearing capacity 6 KSF, 4' - 6" square x 15" deep | 9.92 |  | 0.63 | 5349.9 | 4
A1030 | Slab on Grade |  |  | 7.85 | 66701.2 | 3
A10301203360 | Slab on grade, 5" thick, non industrial, reinforced | 8500 |  | 7.85 | 66701.2 | 4
B | Shell |  | 54.56 | 57.25 | 486660.48 | 1
B1010 | Floor Construction |  |  | 3.94 | 33485.78 | 3
B10102482440 | Floor, concrete, slab form, steel joists, joist girder, 1.5" 22 ga metal deck, on columns, 50'x50' bay, 32" deep, 40 PSF superimposed load, 84 PSF total load | 850 |  | 1.87 | 15909.24 | 4
B10102482450 | Floor, concrete, slab form, steel joists, joist girder, 1.5" 22 ga metal deck, on columns, 50'x50'' bay, 40 PSF superimposed load, 84 PSF total load, for columns add | 850 |  | 0.15 | 1315.61 | 4
B10107203000 | Fireproofing, concrete, 1" thick, 8" steel column, 1 hour rating, 110 PLF | 334.65 |  | 1.91 | 16260.93 | 4
B1020 | Roof Construction |  |  | 15.88 | 134948.47 | 3
B10201245800 | Roof, steel joists, joist girder, 1.5" 22 ga metal deck, on columns, 50'x50' bay, 40 PSF superimposed load, 59" deep, 64 PSF total load | 8500 |  | 14.33 | 121792.34 | 4
B10201245850 | Roof, steel joists, joist girder, 1.5" 22 ga metal deck, on columns, 50'x50' bay, 40 PSF superimposed load, 59" deep, 64 PSF total load, add for columns | 8500 |  | 1.55 | 13156.13 | 4
B2010 | Exterior Walls |  |  | 19.79 | 168244.79 | 3
B20101465150 | Metal facing pnl, textured al, 4' x 8' x 5/16" plywd backing, sgl face, 6" Metal stud, 16" o,c., R-19 insulation | 7604.8 |  | 19.79 | 168244.79 | 4
B2020 | Exterior Windows |  |  | 1.23 | 10426.65 | 3
B20201066650 | Windows, aluminum, sliding, standard glass, 5' x 3' | 10.35 |  | 1.23 | 10426.65 | 4
B2030 | Exterior Doors |  |  | 2.24 | 19036.39 | 3
B20301106950 | Door, aluminum & glass, with transom, narrow stile, double door, hardware, 6'-0" x 10'-0" opening | 0.28 |  | 0.6 | 5065.15 | 4
B20302203450 | Door, steel 18 gauge, hollow metal, 1 door with frame, no label, 3'-0" x 7'-0" opening | 1.13 |  | 0.59 | 4984.4 | 4
B20302204650 | Door, steel 24 gauge, overhead, sectional, electric operator, 12'-0" x 12'-0" opening | 1.7 |  | 1.06 | 8986.84 | 4
B3010 | Roof Coverings |  |  | 11.04 | 93808.48 | 3
B30101203400 | Roofing, single ply membrane, EPDM, 60 mils, loosely laid, stone ballast | 8500 |  | 2.5 | 21286.64 | 4
B30103202700 | Insulation, rigid, roof deck, extruded polystyrene, 40 PSI compressive strength, 4" thick, R20 | 8500 |  | 6.47 | 55020.59 | 4
B30104201400 | Roof edges, aluminum, duranodic, .050" thick, 6" face | 485 |  | 1.41 | 11952.9 | 4
B30106305100 | Gravel stop, aluminum, extruded, 4", mill finish, .050" thick | 485 |  | 0.65 | 5548.35 | 4
B3020 | Roof Openings |  |  | 3.14 | 26709.92 | 3
B30202100300 | Roof hatch, with curb, 1" fiberglass insulation, 2'-6" x 3'-0", galvanized steel, 165 lbs | 1 |  | 0.3 | 2508.68 | 4
B30202102100 | Smoke hatch, unlabeled, galvanized, 2'-6" x 3', not incl hand winch operator | 8 |  | 2.85 | 24201.24 | 4
C | Interiors |  | 5.85 | 6.14 | 52170.75 | 1
C1010 | Partitions |  |  | 2.1 | 17849.68 | 3
C10101045500 | Concrete block (CMU) partition, light weight, hollow, 6" thick, no finish | 244.8 |  | 0.27 | 2290.87 | 4
C10101265400 | Metal partition, 5/8"fire rated gypsum board face, no base,3 -5/8" @ 24" OC framing, same opposite face, no insulation | 435.2 |  | 0.27 | 2281.51 | 4
C10101280700 | Gypsum board, 1 face only, exterior sheathing, fire resistant, 5/8" | 7604.8 |  | 1.04 | 8873.21 | 4
C10101280960 | Add for the following: taping and finishing | 7604.8 |  | 0.52 | 4404.09 | 4
C1020 | Interior Doors |  |  | 0.62 | 5248.61 | 3
C10201022600 | Door, single leaf, kd steel frame, hollow metal, commercial quality, flush, 3'-0" x 7'-0" x 1-3/8" | 3.4 |  | 0.62 | 5248.61 | 4
C3010 | Wall Finishes |  |  | 1.16 | 9881.06 | 3
C30102202000 | 2 coats paint on masonry with block filler | 489.6 |  | 0.24 | 2052.34 | 4
C30102300140 | Painting, interior on plaster and drywall, walls & ceilings, roller work, primer & 2 coats | 7604.8 |  | 0.83 | 7024.71 | 4
C30102300140 | Painting, interior on plaster and drywall, walls & ceilings, roller work, primer & 2 coats | 870.4 |  | 0.09 | 804.01 | 4
C3020 | Floor Finishes |  |  | 2.26 | 19191.4 | 3
C30204100940 | Concrete topping, hardeners, metallic additive, minimum | 3825 |  | 0.58 | 4926.18 | 4
C30204100960 | Concrete topping, hardeners, metallic additive, maximum | 3825 |  | 1.34 | 11423.75 | 4
C30204101600 | Vinyl, composition tile, maximum | 850 |  | 0.33 | 2841.47 | 4
D | Services |  | 22.8 | 23.92 | 203351.51 | 1
D2010 | Plumbing Fixtures |  |  | 0.75 | 6347.44 | 3
D20101102080 | Water closet, vitreous china, bowl only with flush valve, wall hung | 0.57 |  | 0.27 | 2268.41 | 4
D20102102000 | Urinal, vitreous china, wall hung | 0.28 |  | 0.06 | 509.01 | 4
D20103102040 | Lavatory w/trim, wall hung, PE on CI, 18" x 15" | 0.57 |  | 0.12 | 989.81 | 4
D20104404340 | Service sink w/trim, PE on CI,wall hung w/rim guard, 24" x 20" | 0.28 |  | 0.22 | 1860 | 4
D20108201920 | Water cooler, electric, wall hung, wheelchair type, 7.5 GPH | 0.28 |  | 0.08 | 720.21 | 4
D2020 | Domestic Water Distribution |  |  | 0.25 | 2109.67 | 3
D20202501780 | Gas fired water heater, commercial, 100< F rise, 75.5 MBH input, 63 GPH | 0.28 |  | 0.25 | 2109.67 | 4
D2040 | Rain Water Drainage |  |  | 0.79 | 6723.75 | 3
D20402102120 | Roof drain, DWV PVC, 5" diam, 10' high | 1.42 |  | 0.32 | 2758.97 | 4
D20402106320 | Roof drain, steel galv sch 40 threaded, 5" diam piping, for each additional foot add | 48.5 |  | 0.47 | 3964.78 | 4
D3020 | Heat Generating Systems |  |  | 5.85 | 49685.37 | 3
D30201089000 | Warehouse ventilization with heat system 24,000 CFM Supply and Exhaust | 0.31 |  | 5.85 | 49685.37 | 4
D3050 | Terminal & Package Units |  |  | 0.89 | 7548.13 | 3
D30501503880 | Rooftop, single zone, air conditioner, offices, 3,000 SF, 9.50 ton | 850 |  | 0.89 | 7548.13 | 4
D4010 | Sprinklers |  |  | 4.61 | 39202.09 | 3
D40104102250 | Wet pipe sprinkler systems, grooved steel, black, sch 40 pipe, ordinary hazard, 1 floor, 10,000 SF | 8500 |  | 4.61 | 39202.09 | 4
D4020 | Standpipes |  |  | 0.74 | 6266.2 | 3
D40203101580 | Wet standpipe risers, class III, steel, black, sch 40, 6" diam pipe, 1 floor | 0.28 |  | 0.74 | 6266.2 | 4
D5010 | Electrical Service/Distribution |  |  | 2.34 | 19859.85 | 3
D50101200280 | Overhead service installation, includes breakers, metering, 20' conduit & wire, 3 phase, 4 wire, 120/208 V, 200 A | 1 |  | 0.38 | 3191 | 4
D50102300280 | Feeder installation 600 V, including RGS conduit and XHHW wire, 200 A | 50 |  | 0.32 | 2748.95 | 4
D50102400200 | Switchgear installation, incl switchboard, panels & circuit breaker, 120/208 V, 3 phase, 400 A | 1 |  | 1.64 | 13919.9 | 4
D5020 | Lighting and Branch Wiring |  |  | 5.04 | 42854.65 | 3
D50201100360 | Receptacles incl plate, box, conduit, wire, 5 per 1000 SF, .6 watts per SF | 8500 |  | 0.76 | 6429.91 | 4
D50201300200 | Wall switches, 1.0 per 1000 SF | 4250 |  | 0.14 | 1217.8 | 4
D50201350200 | Miscellaneous power, to .5 watts | 8500 |  | 0.15 | 1294.89 | 4
D50201400240 | Central air conditioning power, 3 watts | 850 |  | 0.06 | 545.91 | 4
D50202100500 | Fluorescent fixtures recess mounted in ceiling, 0.8 watt per SF, 20 FC, 5 fixtures @32 watt per 1000 SF | 7650 |  | 2.95 | 25055.82 | 4
D50202100540 | Fluorescent fixtures recess mounted in ceiling, 2.4 watt per SF, 60 FC, 15 fixtures @ 32 watt per 1000 SF | 850 |  | 0.98 | 8310.32 | 4
D5030 | Communications and Security |  |  | 2.68 | 22754.36 | 3
D50309100456 | Communication and alarm systems, fire detection, addressable, 100 detectors, includes outlets, boxes, conduit and wire | 0.28 |  | 2.56 | 21791.73 | 4
D50309100460 | Fire alarm command center, addressable without voice, excl. wire & conduit | 0.28 |  | 0.11 | 962.63 | 4
E | Equipment & Furnishings |  | 0 | 0 | 0 | 1
E1090 | Other Equipment |  |  | 0 | 0 | 3
F | Special Construction |  | 0 | 0 | 0 | 1
G | Building Sitework |  | 0 | 0 | 0 | 1
SubTotal |  |  | 100% | $104.94 | $891,984.92
Contractor Fees (General Conditions,Overhead,Profit) |  |  | 25.0% | $26.23 | $222,996.23
Architectural Fees |  |  | 7.0% | $9.18 | $78,048.68
User Fees |  |  | 0.0% | $0.00 | $0.00
Total Building Cost |  |  |  | $140.36 | $1,193,029.83

## RSMeans
Uniformat | System | Componenet % of Total | Cost per S.F. | Cost
A1010 | Standard Foundations | 9.316% | 9.78 | 83100.98
A1030 | Slab on Grade | 7.478% | 7.85 | 66701.2
B1010 | Floor Construction | 3.754% | 3.94 | 33485.78
B1020 | Roof Construction | 15.13% | 15.88 | 134948.47
B2010 | Exterior Walls | 18.86% | 19.79 | 168244.79
B2020 | Exterior Windows | 1.169% | 1.23 | 10426.65
B2030 | Exterior Doors | 2.134% | 2.24 | 19036.39
B3010 | Roof Coverings | 10.52% | 11.04 | 93808.48
B3020 | Roof Openings | 2.994% | 3.14 | 26709.92
C1010 | Partitions | 2.001% | 2.1 | 17849.68
C1020 | Interior Doors | 0.5884% | 0.62 | 5248.61
C3010 | Wall Finishes | 1.108% | 1.16 | 9881.06
C3020 | Floor Finishes | 2.152% | 2.26 | 19191.4
D2010 | Plumbing Fixtures | 0.7116% | 0.75 | 6347.44
D2020 | Domestic Water Distribution | 0.2365% | 0.25 | 2109.67
D2040 | Rain Water Drainage | 0.7538% | 0.79 | 6723.75
D3020 | Heat Generating Systems | 5.57% | 5.85 | 49685.37
D3050 | Terminal & Package Units | 0.8462% | 0.89 | 7548.13
D4010 | Sprinklers | 4.395% | 4.61 | 39202.09
D4020 | Standpipes | 0.7025% | 0.74 | 6266.2
D5010 | Electrical Service/Distribution | 2.226% | 2.34 | 19859.85
D5020 | Lighting and Branch Wiring | 4.804% | 5.04 | 42854.65
D5030 | Communications and Security | 2.551% | 2.68 | 22754.36
E1090 | Other Equipment | 0%
Total |  | 100% | 0.25 | 891984.92