## 14 Jail
Uniformat | System | Componenet % of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 40000
A1010 | Standard Foundations | 0.94267 | 3.5054 | 140214.3381 | Cost Per Square Foot: | 371.86
A1030 | Slab on Grade | 0.83686 | 3.1119 | 124476.6711 | Building Cost: | 14874224.37
B1010 | Floor Construction | 10.324 | 38.3905 | 1535618.0966
B1020 | Roof Construction | 3.9903 | 14.8382 | 593528.9998
B2010 | Exterior Walls | 3.9522 | 14.6963 | 587852.5295
B2020 | Exterior Windows | 7.6604 | 28.4855 | 1139420.1552
B2030 | Exterior Doors | 0.27995 | 1.041 | 41640.0264
B3010 | Roof Coverings | 0.99394 | 3.696 | 147840.1345
B3020 | Roof Openings | 0.022558 | 0.083884 | 3355.3595
C1010 | Partitions | 0.95265 | 3.5425 | 141699.0968
C1020 | Interior Doors | 0.59704 | 2.2201 | 88804.7703
C2010 | Stair Construction | 0.95419 | 3.5482 | 141928.3176
C3010 | Wall Finishes | 1.0288 | 3.8258 | 153030.5707
C3020 | Floor Finishes | 1.3685 | 5.0887 | 203549.6309
C3030 | Ceiling Finishes | 3.159 | 11.7468 | 469872.2564
D1010 | Elevators and Lifts | 1.9059 | 7.0871 | 283483.1249
D2010 | Plumbing Fixtures | 23.6165 | 87.8194 | 3512775.0635
D2020 | Domestic Water Distribution | 3.261 | 12.1261 | 485044.3214
D2040 | Rain Water Drainage | 0.50358 | 1.8726 | 74903.2501
D3010 | Energy Supply Systems | 0.4145 | 1.5414 | 61654.2715
D3020 | Heat Generating Systems | 1.427 | 5.3066 | 212262.6189
D3030 | Cooling Generating Systems | 1.37 | 5.0943 | 203772.1141
D3040 | Distribution Systems | 2.112 | 7.8537 | 314148.6759
D3060 | Controls & Instrumentation | 0.45666 | 1.6981 | 67924.038
D4010 | Sprinklers | 1.0265 | 3.8171 | 152685.897
D4020 | Standpipes | 0.3145 | 1.1695 | 46779.3969
D5010 | Electrical Service/Distribution | 0.50672 | 1.8843 | 75371.2012
D5020 | Lighting and Branch Wiring | 3.6872 | 13.7109 | 548435.9631
D5030 | Communications and Security | 2.5207 | 9.3734 | 374936.8274
D5090 | Other Electrical Systems | 0.27688 | 1.0296 | 41183.8586
E2010.8 | Detention Equipment | 19.5374 | 72.6508 | 2906032.7942
Total |  | 100 | 371.8556 | 14874224.37

## Squarefoot_Estimate
| Square Foot Cost Estimate Report |  |  | Date: | 4/25/2025
Estimate Name: | Jail
Building Type: | Jail with Cast in Place Concrete / Rigid Steel
Location: | HELENA, MT
Story Count: | 3
Story Height (L.F.): | 12.00
Floor Area (S.F.): | 40000
Labor Type: | STD
Basement Included: | No | [5 empty] | Assembly Customization Type:
Data Release: | Year 2025 Quarter 1 | Costs are derived from a building model with basic components. | [5 empty] | Added
Cost Per Square Foot: | $371.86 | Scope differences and market conditions can cause costs to vary significantly. | [5 empty] | Partially Swapped
Building Cost: | $14,874,224.37 | [6 empty] | Fully Swapped
|  | Quantity | % of Total | Cost Per S.F. | Cost
A | Substructure |  | 1.78 | 4.95 | 197899.82 | 1
A1010 | Standard Foundations |  |  | 2.62 | 104833.15 | 3
A10101051560 | Foundation wall, CIP, 4' wall height, direct chute, .148 CY/LF, 7.2 PLF, 12" thick | 530 |  | 1.38 | 55170.88 | 4
A10101102700 | Strip footing, concrete, reinforced, load 11.1 KLF, soil bearing capacity 6 KSF, 12" deep x 24" wide | 583 |  | 0.82 | 32773.64 | 4
A10102107500 | Spread footings, 3000 PSI concrete, load 125K, soil bearing capacity 6 KSF, 5' - 0" square x 16" deep | 25 |  | 0.42 | 16888.63 | 4
A1030 | Slab on Grade |  |  | 2.33 | 93066.67 | 3
A10301202240 | Slab on grade, 4" thick, non industrial, reinforced | 13333.33 |  | 2.33 | 93066.67 | 4
B | Shell |  | 27.22 | 75.69 | 3027480.6 | 1
B1010 | Floor Construction |  |  | 28.7 | 1148125.68 | 3
B10102084600 | Steel column, W10, 200 KIPS, 10' unsupported height, 45 PLF | 1080 |  | 3.71 | 148225.68 | 4
B10102524700 | Floor, composite concrete slab on fireproofed W beam, 4.5" slab, 25'x30' bay, 20.5" total depth, 75 PSF superimposed load, 136 PSF total | 26666.67 |  | 25 | 999900 | 4
B1020 | Roof Construction |  |  | 11.09 | 443760 | 3
B10207504600 | Roof, composite slab on steel beam, 25'x30' bay, 4.5"slab, 20.5" total depth, 40 PSF superimposed load, 100 PSF total load | 13333.33 |  | 11.09 | 443760 | 4
B2010 | Exterior Walls |  |  | 10.99 | 439515.91 | 3
B20101014000 | Concrete wall, reinforced, 8' high, 8" thick, plain finish, 3000 PSI | 16218 |  | 10.99 | 439515.91 | 4
B2020 | Exterior Windows |  |  | 21.3 | 851902.92 | 3
B20201045200 | Windows, steel, horizontal pivoted, standard glass, 2' x 2' | 715.5 |  | 7.61 | 304287.84 | 4
B20202202650 | Glazing panel, plate glass, 3/4" thick, tempered | 2862 |  | 13.69 | 547615.08 | 4
B2030 | Exterior Doors |  |  | 0.78 | 31132.73 | 3
B20301107050 | Door, aluminum & glass, with transom, wide stile, double door, hardware, 6'-0" x 10'-0" opening | 1 |  | 0.53 | 21103.5 | 4
B20302204200 | Door, steel 18 gauge, hollow metal, 2 doors with frame, "A" label, 6'-0" x 7'-0" opening | 1 |  | 0.25 | 10029.23 | 4
B3010 | Roof Coverings |  |  | 2.76 | 110534.68 | 3
B30101051400 | Roofing, asphalt flood coat, gravel, base sheet, 3 plies 15# asphalt felt, mopped | 13333.33 |  | 1.27 | 50784 | 4
B30103203090 | Insulation, rigid, roof deck, composite with 2" EPS, 1" perlite | 13333.33 |  | 1.02 | 40625.6 | 4
B30104201400 | Roof edges, aluminum, duranodic, .050" thick, 6" face | 530 |  | 0.33 | 13061.93 | 4
B30106305100 | Gravel stop, aluminum, extruded, 4", mill finish, .050" thick | 530 |  | 0.15 | 6063.15 | 4
B3020 | Roof Openings |  |  | 0.06 | 2508.68 | 3
B30202100300 | Roof hatch, with curb, 1" fiberglass insulation, 2'-6" x 3'-0", galvanized steel, 165 lbs | 1 |  | 0.06 | 2508.68 | 4
C | Interiors |  | 8.06 | 22.41 | 896362.35 | 1
C1010 | Partitions |  |  | 2.65 | 105943.25 | 3
C10101046000 | Concrete block (CMU) partition, light weight, hollow, 8" thick, no finish | 10666.67 |  | 2.65 | 105943.25 | 4
C1020 | Interior Doors |  |  | 1.66 | 66396.09 | 3
C10201022600 | Door, single leaf, kd steel frame, hollow metal, commercial quality, flush, 3'-0" x 7'-0" x 1-3/8" | 43.01 |  | 1.66 | 66396.09 | 4
C2010 | Stair Construction |  |  | 2.65 | 106114.63 | 3
C20101100760 | Stairs, steel, pan tread for conc in-fill, picket rail,20 risers w/ landing | 5 |  | 2.65 | 106114.63 | 4
C3010 | Wall Finishes |  |  | 2.86 | 114415.38 | 3
C30102202000 | 2 coats paint on masonry with block filler | 16218 |  | 1.7 | 67983.59 | 4
C30102300320 | Painting, masonry or concrete, latex, brushwork, primer & 2 coats | 21333.33 |  | 1.16 | 46431.79 | 4
C3020 | Floor Finishes |  |  | 3.8 | 152186.64 | 3
C30204100060 | Carpet tile, nylon, fusion bonded, 18" x 18" or 24" x 24", 24 oz | 8000 |  | 1.03 | 41082.16 | 4
C30204101580 | Vinyl, composition tile, minimum | 28000 |  | 1.96 | 78301.44 | 4
C30204101720 | Tile, ceramic natural clay | 4000 |  | 0.82 | 32803.04 | 4
C3030 | Ceiling Finishes |  |  | 8.78 | 351306.36 | 3
C30301105700 | Gypsum board ceilings, 5/8" fire rated gypsum board, painted and textured finish,1-5/8" metal stud furring, 24" OC support | 28000 |  | 3.25 | 129888.36 | 4
C30302107400 | Acoustic ceilings, 3/4"mineral fiber, 12" x 12" tile, concealed 2" bar & channel grid, suspended support | 12000 |  | 5.54 | 221418 | 4
D | Services |  | 42.74 | 118.84 | 4753599.35 | 1
D1010 | Elevators and Lifts |  |  | 5.3 | 211950 | 3
D10101108850 | Hydraulic passenger elevator, 2500 lb., 3 floors, 12 FT story height, 125 FPM | 1 |  | 5.3 | 211950 | 4
D2010 | Plumbing Fixtures |  |  | 65.66 | 2626373.88 | 3
D20101102080 | Water closet, vitreous china, bowl only with flush valve, wall hung | 406.7 |  | 40.7 | 1628050.6 | 4
D20102102000 | Urinal, vitreous china, wall hung | 1.7 |  | 0.08 | 3054.04 | 4
D20103102080 | Lavatory w/trim, wall hung, PE on CI, 19" x 17" | 406.7 |  | 18.72 | 748988.89 | 4
D20104101960 | Kitchen sink w/trim, countertop, stainless steel, 33" x 22" double bowl | 3.3 |  | 0.19 | 7586.54 | 4
D20104201840 | Laundry sink w/trim, PE on CI, black iron frame, 48" x 21" double compartment | 3.3 |  | 0.17 | 6960.2 | 4
D20104404260 | Service sink w/trim, PE on CI, corner floor, 28" x 28", w/rim guard | 4.95 |  | 0.64 | 25578.63 | 4
D20107101840 | Shower, stall, fiberglass 1 piece, three walls, 36" square | 98.3 |  | 5.04 | 201782.87 | 4
D20108201920 | Water cooler, electric, wall hung, wheelchair type, 7.5 GPH | 1.72 |  | 0.11 | 4372.11 | 4
D2020 | Domestic Water Distribution |  |  | 9.07 | 362649.96 | 3
D20202402340 | Electric water heater, commercial, 100< F rise, 700 gal, 300 KW 1230 GPH | 3.44 |  | 9.07 | 362649.96 | 4
D2040 | Rain Water Drainage |  |  | 1.4 | 56002.43 | 3
D20402106200 | Roof drain, steel galv sch 40 threaded, 4" diam piping, 10' high | 6.6 |  | 0.77 | 30789.33 | 4
D20402106240 | Roof drain, steel galv sch 40 threaded, 4" diam piping, for each additional foot add | 220 |  | 0.63 | 25213.1 | 4
D3050 | Terminal & Package Units |  |  | 16.07 | 642812.5 | 3
D30501553680 | Rooftop, multizone, air conditioner, medical centers, 25,000 SF, 58.33 ton | 50000 |  | 16.07 | 642812.5 | 4
D4010 | Sprinklers |  |  | 2.85 | 114157.68 | 3
D40104100620 | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 10,000 SF | 13600 |  | 1.22 | 48815.3 | 4
D40104100740 | Wet pipe sprinkler systems, steel, light hazard, each additional floor, 10,000 SF | 26400 |  | 1.63 | 65342.38 | 4
D4020 | Standpipes |  |  | 0.87 | 34975.25 | 3
D40203100560 | Wet standpipe risers, class I, steel, black, sch 40, 4" diam pipe, 1 floor | 2 |  | 0.65 | 25992.15 | 4
D40203101560 | Wet standpipe risers, class III, steel, black, sch 40, 4" diam pipe, additional floors | 4 |  | 0.22 | 8983.1 | 4
D5010 | Electrical Service/Distribution |  |  | 1.41 | 56352.3 | 3
D50101200360 | Overhead service installation, includes breakers, metering, 20' conduit & wire, 3 phase, 4 wire, 120/208 V, 600 A | 1 |  | 0.27 | 10615.5 | 4
D50102300360 | Feeder installation 600 V, including RGS conduit and XHHW wire, 600 A | 100 |  | 0.73 | 29364.7 | 4
D50102400240 | Switchgear installation, incl switchboard, panels & circuit breaker, 120/208 V, 3 phase, 600 A | 1 |  | 0.41 | 16372.1 | 4
D5020 | Lighting and Branch Wiring |  |  | 10.25 | 410045.58 | 3
D50201100200 | Receptacles incl plate, box, conduit, wire, 2.5 per 1000 SF, .3 watts per SF | 32000 |  | 1.5 | 59869.44 | 4
D50201300200 | Wall switches, 1.0 per 1000 SF | 40000 |  | 0.29 | 11461.6 | 4
D50201350280 | Miscellaneous power, 1 watt | 40000 |  | 0.29 | 11697.6 | 4
D50201400280 | Central air conditioning power, 4 watts | 40000 |  | 0.64 | 25572 | 4
D50201450720 | Motor installation, three phase, 200 V, 15 HP motor size | 1 |  | 0.09 | 3473.23 | 4
D50202100240 | Fluorescent fixtures recess mounted in ceiling, 2 watt per SF, 40 FC, 10 fixtures @40 watt per 1000 SF | 54800 |  | 7.45 | 297971.71 | 4
D5030 | Communications and Security |  |  | 5.19 | 207488.1 | 3
D50309100454 | Communication and alarm systems, fire detection, addressable, 50 detectors, includes outlets, boxes, conduit and wire | 1 |  | 1.02 | 40923.6 | 4
D50309100460 | Fire alarm command center, addressable without voice, excl. wire & conduit | 1 |  | 0.08 | 3397.5 | 4
D50309100600 | Communication and alarm systems, includes outlets, boxes, conduit and wire, intercom systems, 50 stations | 2 |  | 4.08 | 163167 | 4
D5090 | Other Electrical Systems |  |  | 0.77 | 30791.67 | 3
D50902100360 | Generator sets, w/battery, charger, muffler and transfer switch, gas/gasoline operated, 3 phase, 4 wire, 277/480 V, 80 kW | 70 |  | 0.77 | 30791.67 | 4
E | Equipment & Furnishings |  | 20.19 | 56.14 | 2245573.3 | 1
E1020 | Institutional Equipment |  |  | 54.32 | 2172734.8 | 3
E1090282313102000 | 70.00-Closed circuit television system (CCTV), surveillance, one station (camera & monitor) | 70 |  | 1.82 | 72838.5 | 4
E10206100120 | Architectural equipment, detention equipment cells, prefab, including front, 5' x 7' x 7' deep | 180 |  | 53.69 | 2147517 | 4
E10206100160 | Architectural equipment, detention equipment visitor cubicle, vision panel, no intercom | 4 |  | 0.63 | 25217.8 | 4
E1090 | Other Equipment |  |  | 1.82 | 72838.5 | 3
F | Special Construction |  | 0 | 0 | 0 | 1
G | Building Sitework |  | 0 | 0 | 0 | 1
SubTotal |  |  | 100% | $278.02 | $11,120,915.42
Contractor Fees (General Conditions,Overhead,Profit) |  |  | 25.0% | $69.51 | $2,780,228.86
Architectural Fees |  |  | 7.0% | $24.33 | $973,080.10
User Fees |  |  | 0.0% | $0.00 | $0.00
Total Building Cost |  |  |  | $371.86 | $14,874,224.37