## 15 Jail 1 Story
Uniformat | System | Componenet % of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 10000
A1010 | Standard Foundations | 2.6142 | 11.6615 | 116614.8728 | Cost Per Square Foot: | 446.07
A1030 | Slab on Grade | 2.0929 | 9.3357 | 93357.5 | Building Cost: | 4460743.65
B1010 | Floor Construction | 1.1111 | 4.9563 | 49562.9617
B1020 | Roof Construction | 9.9792 | 44.5147 | 445146.7499
B2010 | Exterior Walls | 4.1441 | 18.4859 | 184859.2856
B2020 | Exterior Windows | 8.0325 | 35.8308 | 358308.2249
B2030 | Exterior Doors | 0.23337 | 1.041 | 10410.0166
B3010 | Roof Coverings | 2.5966 | 11.5827 | 115827.1388
B3020 | Roof Openings | 0.07522 | 0.33554 | 3355.3595
C1010 | Partitions | 0.79414 | 3.5425 | 35424.7709
C1020 | Interior Doors | 0.4977 | 2.2201 | 22201.1892
C2010 | Stair Construction | 0.79543 | 3.5482 | 35482.0827
C3010 | Wall Finishes | 0.98906 | 4.4119 | 44119.3635
C3020 | Floor Finishes | 1.1408 | 5.0887 | 50887.4077
C3030 | Ceiling Finishes | 2.6334 | 11.7468 | 117468.0641
D2010 | Plumbing Fixtures | 19.6872 | 87.8194 | 878193.7659
D2020 | Domestic Water Distribution | 10.8736 | 48.5044 | 485044.3214
D2040 | Rain Water Drainage | 1.6792 | 7.4903 | 74903.2501
D3010 | Energy Supply Systems | 0.28911 | 1.2896 | 12896.456
D3020 | Heat Generating Systems | 1.2046 | 5.3735 | 53735.2332
D3030 | Cooling Generating Systems | 1.1564 | 5.1586 | 51585.8239
D3040 | Distribution Systems | 1.7828 | 7.9528 | 79528.1451
D3060 | Controls & Instrumentation | 0.38548 | 1.7195 | 17195.2746
D4010 | Sprinklers | 0.85572 | 3.8171 | 38171.4609
D4020 | Standpipes | 1.0487 | 4.6779 | 46779.3969
D5010 | Electrical Service/Distribution | 1.6897 | 7.5371 | 75371.2012
D5020 | Lighting and Branch Wiring | 3.1518 | 14.0593 | 140593.078
D5030 | Communications and Security | 2.1793 | 9.7214 | 97213.5526
E2010.8 | Detention Equipment | 16.2867 | 72.6508 | 726508.1986
Total |  | 100 | 446.0744 | 4460744.1464

## Squarefoot_Estimate
| Square Foot Cost Estimate Report |  |  | Date: | 4/25/2025
Estimate Name: | Jail 1 Story
Building Type: | Jail with Cast in Place Concrete / Rigid Steel
Location: | HELENA, MT
Story Count: | 1
Story Height (L.F.): | 12.00
Floor Area (S.F.): | 10000
Labor Type: | STD
Basement Included: | No | [5 empty] | Assembly Customization Type:
Data Release: | Year 2025 Quarter 1 | Costs are derived from a building model with basic components. | [5 empty] | Added
Cost Per Square Foot: | $446.07 | Scope differences and market conditions can cause costs to vary significantly. | [5 empty] | Partially Swapped
Building Cost: | $4,460,743.65 | [6 empty] | Fully Swapped
|  | Quantity | % of Total | Cost Per S.F. | Cost
A | Substructure |  | 4.71 | 15.7 | 156988.69 | 1
A1010 | Standard Foundations |  |  | 8.72 | 87188.69 | 3
A10101051560 | Foundation wall, CIP, 4' wall height, direct chute, .148 CY/LF, 7.2 PLF, 12" thick | 500 |  | 5.2 | 52048 | 4
A10101102700 | Strip footing, concrete, reinforced, load 11.1 KLF, soil bearing capacity 6 KSF, 12" deep x 24" wide | 550 |  | 3.09 | 30918.53 | 4
A10102107500 | Spread footings, 3000 PSI concrete, load 125K, soil bearing capacity 6 KSF, 5' - 0" square x 16" deep | 6.25 |  | 0.42 | 4222.16 | 4
A1030 | Slab on Grade |  |  | 6.98 | 69800 | 3
A10301202240 | Slab on grade, 4" thick, non industrial, reinforced | 10000 |  | 6.98 | 69800 | 4
B | Shell |  | 26.17 | 87.29 | 872874.57 | 1
B1010 | Floor Construction |  |  | 3.71 | 37056.42 | 3
B10102084600 | Steel column, W10, 200 KIPS, 10' unsupported height, 45 PLF | 270 |  | 3.71 | 37056.42 | 4
B10102524700 | Floor, composite concrete slab on fireproofed W beam, 4.5" slab, 25'x30' bay, 20.5" total depth, 75 PSF superimposed load, 136 PSF total | 1 |  | 0 | 0 | 4
B1020 | Roof Construction |  |  | 33.28 | 332820 | 3
B10207504600 | Roof, composite slab on steel beam, 25'x30' bay, 4.5"slab, 20.5" total depth, 40 PSF superimposed load, 100 PSF total load | 10000 |  | 33.28 | 332820 | 4
B2010 | Exterior Walls |  |  | 13.82 | 138212.55 | 3
B20101014000 | Concrete wall, reinforced, 8' high, 8" thick, plain finish, 3000 PSI | 5100 |  | 13.82 | 138212.55 | 4
B2020 | Exterior Windows |  |  | 26.79 | 267894 | 3
B20201045200 | Windows, steel, horizontal pivoted, standard glass, 2' x 2' | 225 |  | 9.57 | 95688 | 4
B20202202650 | Glazing panel, plate glass, 3/4" thick, tempered | 900 |  | 17.22 | 172206 | 4
B2030 | Exterior Doors |  |  | 0.78 | 7783.19 | 3
B20301107050 | Door, aluminum & glass, with transom, wide stile, double door, hardware, 6'-0" x 10'-0" opening | 0.25 |  | 0.53 | 5275.88 | 4
B20302204200 | Door, steel 18 gauge, hollow metal, 2 doors with frame, "A" label, 6'-0" x 7'-0" opening | 0.25 |  | 0.25 | 2507.31 | 4
B3010 | Roof Coverings |  |  | 8.66 | 86599.73 | 3
B30101051400 | Roofing, asphalt flood coat, gravel, base sheet, 3 plies 15# asphalt felt, mopped | 10000 |  | 3.81 | 38088 | 4
B30103203090 | Insulation, rigid, roof deck, composite with 2" EPS, 1" perlite | 10000 |  | 3.05 | 30469.2 | 4
B30104201400 | Roof edges, aluminum, duranodic, .050" thick, 6" face | 500 |  | 1.23 | 12322.58 | 4
B30106305100 | Gravel stop, aluminum, extruded, 4", mill finish, .050" thick | 500 |  | 0.57 | 5719.95 | 4
B3020 | Roof Openings |  |  | 0.25 | 2508.68 | 3
B30202100300 | Roof hatch, with curb, 1" fiberglass insulation, 2'-6" x 3'-0", galvanized steel, 165 lbs | 1 |  | 0.25 | 2508.68 | 4
C | Interiors |  | 6.85 | 22.85 | 228473.18 | 1
C1010 | Partitions |  |  | 2.65 | 26485.81 | 3
C10101046000 | Concrete block (CMU) partition, light weight, hollow, 8" thick, no finish | 2666.67 |  | 2.65 | 26485.81 | 4
C1020 | Interior Doors |  |  | 1.66 | 16599.02 | 3
C10201022600 | Door, single leaf, kd steel frame, hollow metal, commercial quality, flush, 3'-0" x 7'-0" x 1-3/8" | 10.75 |  | 1.66 | 16599.02 | 4
C2010 | Stair Construction |  |  | 2.65 | 26528.66 | 3
C20101100760 | Stairs, steel, pan tread for conc in-fill, picket rail,20 risers w/ landing | 1.25 |  | 2.65 | 26528.66 | 4
C3010 | Wall Finishes |  |  | 3.3 | 32986.44 | 3
C30102202000 | 2 coats paint on masonry with block filler | 5100 |  | 2.14 | 21378.49 | 4
C30102300320 | Painting, masonry or concrete, latex, brushwork, primer & 2 coats | 5333.33 |  | 1.16 | 11607.95 | 4
C3020 | Floor Finishes |  |  | 3.8 | 38046.66 | 3
C30204100060 | Carpet tile, nylon, fusion bonded, 18" x 18" or 24" x 24", 24 oz | 2000 |  | 1.03 | 10270.54 | 4
C30204101580 | Vinyl, composition tile, minimum | 7000 |  | 1.96 | 19575.36 | 4
C30204101720 | Tile, ceramic natural clay | 1000 |  | 0.82 | 8200.76 | 4
C3030 | Ceiling Finishes |  |  | 8.78 | 87826.59 | 3
C30301105700 | Gypsum board ceilings, 5/8" fire rated gypsum board, painted and textured finish,1-5/8" metal stud furring, 24" OC support | 7000 |  | 3.25 | 32472.09 | 4
C30302107400 | Acoustic ceilings, 3/4"mineral fiber, 12" x 12" tile, concealed 2" bar & channel grid, suspended support | 3000 |  | 5.54 | 55354.5 | 4
D | Services |  | 45.36 | 151.28 | 1512804.3 | 1
D2010 | Plumbing Fixtures |  |  | 65.66 | 656593.47 | 3
D20101102080 | Water closet, vitreous china, bowl only with flush valve, wall hung | 101.68 |  | 40.7 | 407012.65 | 4
D20102102000 | Urinal, vitreous china, wall hung | 0.42 |  | 0.08 | 763.51 | 4
D20103102080 | Lavatory w/trim, wall hung, PE on CI, 19" x 17" | 101.68 |  | 18.72 | 187247.22 | 4
D20104101960 | Kitchen sink w/trim, countertop, stainless steel, 33" x 22" double bowl | 0.82 |  | 0.19 | 1896.63 | 4
D20104201840 | Laundry sink w/trim, PE on CI, black iron frame, 48" x 21" double compartment | 0.82 |  | 0.17 | 1740.05 | 4
D20104404260 | Service sink w/trim, PE on CI, corner floor, 28" x 28", w/rim guard | 1.24 |  | 0.64 | 6394.66 | 4
D20107101840 | Shower, stall, fiberglass 1 piece, three walls, 36" square | 24.58 |  | 5.04 | 50445.72 | 4
D20108201920 | Water cooler, electric, wall hung, wheelchair type, 7.5 GPH | 0.43 |  | 0.11 | 1093.03 | 4
D2020 | Domestic Water Distribution |  |  | 36.26 | 362649.96 | 3
D20202402340 | Electric water heater, commercial, 100< F rise, 700 gal, 300 KW 1230 GPH | 3.44 |  | 36.26 | 362649.96 | 4
D2040 | Rain Water Drainage |  |  | 5.6 | 56002.43 | 3
D20402106200 | Roof drain, steel galv sch 40 threaded, 4" diam piping, 10' high | 6.6 |  | 3.08 | 30789.33 | 4
D20402106240 | Roof drain, steel galv sch 40 threaded, 4" diam piping, for each additional foot add | 220 |  | 2.52 | 25213.1 | 4
D3050 | Terminal & Package Units |  |  | 16.07 | 160703.13 | 3
D30501553680 | Rooftop, multizone, air conditioner, medical centers, 25,000 SF, 58.33 ton | 12500 |  | 16.07 | 160703.13 | 4
D4010 | Sprinklers |  |  | 2.85 | 28539.41 | 3
D40104100620 | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 10,000 SF | 3400 |  | 1.22 | 12203.82 | 4
D40104100740 | Wet pipe sprinkler systems, steel, light hazard, each additional floor, 10,000 SF | 6600 |  | 1.63 | 16335.59 | 4
D4020 | Standpipes |  |  | 3.5 | 34975.25 | 3
D40203100560 | Wet standpipe risers, class I, steel, black, sch 40, 4" diam pipe, 1 floor | 2 |  | 2.6 | 25992.15 | 4
D40203101560 | Wet standpipe risers, class III, steel, black, sch 40, 4" diam pipe, additional floors | 4 |  | 0.9 | 8983.1 | 4
D5010 | Electrical Service/Distribution |  |  | 5.64 | 56352.3 | 3
D50101200360 | Overhead service installation, includes breakers, metering, 20' conduit & wire, 3 phase, 4 wire, 120/208 V, 600 A | 1 |  | 1.06 | 10615.5 | 4
D50102300360 | Feeder installation 600 V, including RGS conduit and XHHW wire, 600 A | 100 |  | 2.94 | 29364.7 | 4
D50102400240 | Switchgear installation, incl switchboard, panels & circuit breaker, 120/208 V, 3 phase, 600 A | 1 |  | 1.64 | 16372.1 | 4
D5020 | Lighting and Branch Wiring |  |  | 10.51 | 105116.32 | 3
D50201100200 | Receptacles incl plate, box, conduit, wire, 2.5 per 1000 SF, .3 watts per SF | 8000 |  | 1.5 | 14967.36 | 4
D50201300200 | Wall switches, 1.0 per 1000 SF | 10000 |  | 0.29 | 2865.4 | 4
D50201350280 | Miscellaneous power, 1 watt | 10000 |  | 0.29 | 2924.4 | 4
D50201400280 | Central air conditioning power, 4 watts | 10000 |  | 0.64 | 6393 | 4
D50201450720 | Motor installation, three phase, 200 V, 15 HP motor size | 1 |  | 0.35 | 3473.23 | 4
D50202100240 | Fluorescent fixtures recess mounted in ceiling, 2 watt per SF, 40 FC, 10 fixtures @40 watt per 1000 SF | 13700 |  | 7.45 | 74492.93 | 4
D5030 | Communications and Security |  |  | 5.19 | 51872.03 | 3
D50309100454 | Communication and alarm systems, fire detection, addressable, 50 detectors, includes outlets, boxes, conduit and wire | 0.25 |  | 1.02 | 10230.9 | 4
D50309100460 | Fire alarm command center, addressable without voice, excl. wire & conduit | 0.25 |  | 0.08 | 849.38 | 4
D50309100600 | Communication and alarm systems, includes outlets, boxes, conduit and wire, intercom systems, 50 stations | 0.5 |  | 4.08 | 40791.75 | 4
E | Equipment & Furnishings |  | 16.91 | 56.4 | 563994.7 | 1
E1020 | Institutional Equipment |  |  | 54.32 | 543183.7 | 3
E1090282313102000 | 20.00-Closed circuit television system (CCTV), surveillance, one station (camera & monitor) | 20 |  | 2.08 | 20811 | 4
E10206100120 | Architectural equipment, detention equipment cells, prefab, including front, 5' x 7' x 7' deep | 45 |  | 53.69 | 536879.25 | 4
E10206100160 | Architectural equipment, detention equipment visitor cubicle, vision panel, no intercom | 1 |  | 0.63 | 6304.45 | 4
E1090 | Other Equipment |  |  | 2.08 | 20811 | 3
F | Special Construction |  | 0 | 0 | 0 | 1
G | Building Sitework |  | 0 | 0 | 0 | 1
SubTotal |  |  | 100% | $333.51 | $3,335,135.44
Contractor Fees (General Conditions,Overhead,Profit) |  |  | 25.0% | $83.38 | $833,783.86
Architectural Fees |  |  | 7.0% | $29.18 | $291,824.35
User Fees |  |  | 0.0% | $0.00 | $0.00
Total Building Cost |  |  |  | $446.07 | $4,460,743.65