## 16 Lab - Teaching Research
Uniformat | System | Componenet % of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 90000
A1010 | Standard Foundations | 2.0695 | 4.4844 | 403599.8725 | Cost Per Square Foot: | 216.69
A1030 | Slab on Grade | 1.463 | 3.1701 | 285307.4999 | Building Cost: | 19501886.11
A2020 | Basement Walls | 2.6784 | 5.8039 | 522348.1649
B1010 | Floor Construction | 8.1714 | 17.7064 | 1593575.6805
B1020 | Roof Construction | 2.9317 | 6.3526 | 571730.8874
B2010 | Exterior Walls | 8.9374 | 19.3662 | 1742954.9621
B2020 | Exterior Windows | 1.5208 | 3.2953 | 296574.9389
B2030 | Exterior Doors | 4.0483 | 8.7721 | 789488.3623
B3010 | Roof Coverings | 2.2551 | 4.8864 | 439780.188
B3020 | Roof Openings | 0.23919 | 0.51829 | 46646.4682
C1010 | Partitions | 4.7291 | 10.2474 | 922266.467
C1020 | Interior Doors | 1.5838 | 3.432 | 308880.4122
C1030 | Fittings | 0.45837 | 0.99323 | 89391.0635
C3010 | Wall Finishes | 1.3986 | 3.0306 | 272756.9674
C3020 | Floor Finishes | 4.3543 | 9.4352 | 849164.636
C3030 | Ceiling Finishes | 6.7718 | 14.6736 | 1320624.6522
D1010 | Elevators and Lifts | 1.5991 | 3.4652 | 311863.9874
D2010 | Plumbing Fixtures | 3.0237 | 6.552 | 589681.1164
D2020 | Domestic Water Distribution | 1.2944 | 2.8048 | 252428.3448
D2040 | Rain Water Drainage | 0.21244 | 0.46032 | 41429.2377
D3010 | Energy Supply Systems | 0.81474 | 1.7654 | 158889.6669
D3020 | Heat Generating Systems | 3.3948 | 7.356 | 662040.2787
D3030 | Cooling Generating Systems | 3.259 | 7.0618 | 635558.6676
D3040 | Distribution Systems | 5.0242 | 10.8869 | 979819.6125
D3060 | Controls & Instrumentation | 1.0863 | 2.3539 | 211852.8892
D4010 | Sprinklers | 1.8084 | 3.9185 | 352664.5949
D4020 | Standpipes | 0.30903 | 0.66962 | 60266.1
D5010 | Electrical Service/Distribution | 0.68334 | 1.4807 | 133264.2992
D5020 | Lighting and Branch Wiring | 8.1737 | 17.7114 | 1594021.9946
D5030 | Communications and Security | 0.8833 | 1.914 | 172260.9295
D5090 | Other Electrical Systems | 0.059228 | 0.12834 | 11550.6619
E1020 | Institutional Equipment | 14.7637 | 31.9911 | 2879203.1713
Total |  | 100 | 216.6876 | 19501886.7755

## Squarefoot_Estimate
| Square Foot Cost Estimate Report |  |  | Date: | 4/21/2025
Estimate Name: | College Lab
Building Type: | College, Laboratory with Brick Veneer / Rigid Steel
Location: | HELENA, MT
Story Count: | 3
Story Height (L.F.): | 12.00
Floor Area (S.F.): | 90000
Labor Type: | STD
Basement Included: | Yes | [5 empty] | Assembly Customization Type:
Data Release: | Year 2025 Quarter 1 | Costs are derived from a building model with basic components. | [5 empty] | Added
Cost Per Square Foot: | $216.69 | Scope differences and market conditions can cause costs to vary significantly. | [5 empty] | Partially Swapped
Building Cost: | $19,501,886.11 | [6 empty] | Fully Swapped
|  | Quantity | % of Total | Cost Per S.F. | Cost
A | Substructure |  | 6.21 | 9.88 | 888994.89 | 1
A1010 | Standard Foundations |  |  | 3.29 | 296220.09 | 3
A10101102700 | Strip footing, concrete, reinforced, load 11.1 KLF, soil bearing capacity 6 KSF, 12" deep x 24" wide | 1200 |  | 0.75 | 67458.6 | 4
A10102107410 | Spread footings, 3000 PSI concrete, load 100K, soil bearing capacity 6 KSF, 4' - 6" square x 15" deep | 424.04 |  | 2.54 | 228761.49 | 4
A1030 | Slab on Grade |  |  | 2.33 | 209400 | 3
A10301202240 | Slab on grade, 4" thick, non industrial, reinforced | 30000 |  | 2.33 | 209400 | 4
A2020 | Basement Walls |  |  | 4.26 | 383374.8 | 3
A20201107260 | Foundation wall, CIP, 12' wall height, pumped, .444 CY/LF, 21.59 PLF, 12" thick | 1200 |  | 4.26 | 383374.8 | 4
B | Shell |  | 28.1 | 44.7 | 4022569.9 | 1
B1010 | Floor Construction |  |  | 13 | 1169596.83 | 3
B10102030860 | Cast-in-place concrete column, 12" square, tied, 200K load, 12' story height, 142 lbs/LF, 4000PSI | 5088.43 |  | 5.71 | 513641.59 | 4
B10102221720 | Flat slab, concrete, with drop panels, 6" slab/2.5" panel, 12" column, 15'x15' bay, 75 PSF superimposed load, 153 PSF total load | 30000 |  | 6.53 | 587598 | 4
B10107203600 | Fireproofing, gypsum board, fire rated, 2 layers, 1" thick, 8" steel column, 3 hour rating, 14 PLF | 1572 |  | 0.76 | 68357.24 | 4
B1020 | Roof Construction |  |  | 4.66 | 419619 | 3
B10201123300 | Roof, steel joists, beams, 1.5" 22 ga metal deck, on columns, 25'x25' bay, 20" deep, 40 PSF superimposed load, 60 PSF total load | 30000 |  | 3.82 | 344005.2 | 4
B10201123400 | Roof, steel joists, beams, 1.5" 22 ga metal deck, on columns, 25'x25' bay, 20" deep, 40 PSF superimposed load, 60 PSF total load, add for column | 30000 |  | 0.84 | 75613.8 | 4
B2010 | Exterior Walls |  |  | 14.21 | 1279233 | 3
B20101305050 | Brick veneer wall, standard face, 16 ga x 6" LB @ 16" metal stud back-up, running bond | 36720 |  | 14.21 | 1279233 | 4
B2020 | Exterior Windows |  |  | 2.42 | 217669.68 | 3
B20201066650 | Windows, aluminum, sliding, standard glass, 5' x 3' | 216 |  | 2.42 | 217669.68 | 4
B2030 | Exterior Doors |  |  | 6.44 | 579441 | 3
B20301106950 | Door, aluminum & glass, with transom, narrow stile, double door, hardware, 6'-0" x 10'-0" opening | 26 |  | 5.16 | 464802 | 4
B20301107200 | Door, aluminum & glass, with transom, non-standard, hardware, 3'-0" x 10'-0" opening | 14 |  | 1.27 | 114639 | 4
B3010 | Roof Coverings |  |  | 3.59 | 322774.45 | 3
B30101203400 | Roofing, single ply membrane, EPDM, 60 mils, loosely laid, stone ballast | 30000 |  | 0.83 | 75129.3 | 4
B30103202700 | Insulation, rigid, roof deck, extruded polystyrene, 40 PSI compressive strength, 4" thick, R20 | 30000 |  | 2.16 | 194190.3 | 4
B30104201400 | Roof edges, aluminum, duranodic, .050" thick, 6" face | 1200 |  | 0.33 | 29574.18 | 4
B30104300040 | Flashing, aluminum, no backing sides, .019" | 1200 |  | 0.11 | 10152.79 | 4
B30106305100 | Gravel stop, aluminum, extruded, 4", mill finish, .050" thick | 1200 |  | 0.15 | 13727.88 | 4
B3020 | Roof Openings |  |  | 0.38 | 34235.94 | 3
B30202100300 | Roof hatch, with curb, 1" fiberglass insulation, 2'-6" x 3'-0", galvanized steel, 165 lbs | 4 |  | 0.11 | 10034.7 | 4
B30202102100 | Smoke hatch, unlabeled, galvanized, 2'-6" x 3', not incl hand winch operator | 8 |  | 0.27 | 24201.24 | 4
C | Interiors |  | 19.3 | 30.69 | 2761896.66 | 1
C1010 | Partitions |  |  | 7.52 | 676892.82 | 3
C10101265425 | Metal partition, 5/8"fire rated gypsum board face, no base,3 -5/8" @ 24" OC framing, same opposite face, sound attenuation insulation | 90000 |  | 6.81 | 612783 | 4
C10101280700 | Gypsum board, 1 face only, exterior sheathing, fire resistant, 5/8" | 36720 |  | 0.48 | 42844.53 | 4
C10101280960 | Add for the following: taping and finishing | 36720 |  | 0.24 | 21265.29 | 4
C1020 | Interior Doors |  |  | 2.52 | 226701.22 | 3
C10201022700 | Door, single leaf, kd steel frame, metal fire, commercial quality, 3'-0" x 7'-0" x 1-3/8" | 109.76 |  | 2.52 | 226701.22 | 4
C1030 | Fittings |  |  | 0.73 | 65608.12 | 3
C10301100400 | Toilet partitions, cubicles, ceiling hung, painted metal | 38 |  | 0.43 | 38623.77 | 4
C10303100200 | Lockers, steel, 1- tier, std.duty, 5' to 6' high, per opening, 1 wide, knock down constr. | 100 |  | 0.3 | 26984.35 | 4
C3010 | Wall Finishes |  |  | 2.22 | 200188.6 | 3
C30102300140 | Painting, interior on plaster and drywall, walls & ceilings, roller work, primer & 2 coats | 36720 |  | 0.38 | 33919 | 4
C30102300140 | Painting, interior on plaster and drywall, walls & ceilings, roller work, primer & 2 coats | 180000 |  | 1.85 | 166269.6 | 4
C3020 | Floor Finishes |  |  | 6.92 | 623240.1 | 3
C30204100080 | Carpet tile, nylon, fusion bonded, 18" x 18" or 24" x 24", 35 oz | 18000 |  | 1.13 | 101713.86 | 4
C30204100300 | Composition flooring, epoxy, 3/8" thick | 54000 |  | 5.13 | 461353.86 | 4
C30204101600 | Vinyl, composition tile, maximum | 18000 |  | 0.67 | 60172.38 | 4
C3030 | Ceiling Finishes |  |  | 10.77 | 969265.8 | 3
C30302106000 | Acoustic ceilings, 3/4" fiberglass board, 24" x 48" tile, tee grid, suspended support | 90000 |  | 10.77 | 969265.8 | 4
D | Services |  | 31.63 | 50.3 | 4526672.82 | 1
D1010 | Elevators and Lifts |  |  | 2.54 | 228891 | 3
D10101104100 | Hydraulic, hospital elevators, 3500 lb, 5 floors, 100 FPM | 1 |  | 2.54 | 228891 | 4
D2010 | Plumbing Fixtures |  |  | 4.81 | 432793.48 | 3
D20101102080 | Water closet, vitreous china, bowl only with flush valve, wall hung | 38 |  | 1.69 | 152116.85 | 4
D20102102000 | Urinal, vitreous china, wall hung | 14 |  | 0.28 | 25150.93 | 4
D20103102040 | Lavatory w/trim, wall hung, PE on CI, 18" x 15" | 26 |  | 0.5 | 45414.85 | 4
D20104301600 | Lab sink w/trim, stainless steel, single bowl, double drainboard, 54" x 24" OD | 50 |  | 1.55 | 139655 | 4
D20104404380 | Service sink w/trim, vitreous china, wall hung 22" x 20" | 4 |  | 0.27 | 24701.2 | 4
D20108201920 | Water cooler, electric, wall hung, wheelchair type, 7.5 GPH | 18 |  | 0.51 | 45754.65 | 4
D2020 | Domestic Water Distribution |  |  | 2.06 | 185268.51 | 3
D20202502260 | Gas fired water heater, commercial, 100< F rise, 600 MBH input, 576 GPH | 4.9 |  | 2.06 | 185268.51 | 4
D2040 | Rain Water Drainage |  |  | 0.34 | 30406.78 | 3
D20402104360 | Roof drain, CI, soil,single hub, 6" diam, 10' high | 12 |  | 0.33 | 29678.7 | 4
D20402104400 | Roof drain, CI, soil,single hub, 6" diam, for each additional foot add | 12 |  | 0.01 | 728.08 | 4
D3050 | Terminal & Package Units |  |  | 21.6 | 1943604 | 3
D30501554440 | Rooftop, multizone, air conditioner, schools and colleges, 25,000 SF, 95.83 ton | 90000 |  | 21.6 | 1943604 | 4
D4010 | Sprinklers |  |  | 2.88 | 258836.4 | 3
D40104100640 | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 50,000 SF | 90000 |  | 2.88 | 258836.4 | 4
D4020 | Standpipes |  |  | 0.49 | 44232 | 3
D40203101580 | Wet standpipe risers, class III, steel, black, sch 40, 6" diam pipe, 1 floor | 2 |  | 0.49 | 44232 | 4
D5010 | Electrical Service/Distribution |  |  | 1.09 | 97808.66 | 3
D50101200440 | Overhead service installation, includes breakers, metering, 20' conduit & wire, 3 phase, 4 wire, 120/208 V, 1000 A | 1.25 |  | 0.29 | 25965 | 4
D50102300440 | Feeder installation 600 V, including RGS conduit and XHHW wire, 1000 A | 100 |  | 0.37 | 33169.7 | 4
D50102400320 | Switchgear installation, incl switchboard, panels & circuit breaker, 120/208 V, 3 phase, 1200 A | 1.2 |  | 0.43 | 38673.96 | 4
D5020 | Lighting and Branch Wiring |  |  | 13 | 1169924.4 | 3
D50201100480 | Receptacles incl plate, box, conduit, wire, 8 per 1000 SF, .9 W per SF, with transformer | 90000 |  | 3.5 | 315391.5 | 4
D50201300280 | Wall switches, 2.0 per 1000 SF | 90000 |  | 0.45 | 40335.3 | 4
D50201350280 | Miscellaneous power, 1 watt | 90000 |  | 0.29 | 26319.6 | 4
D50201400240 | Central air conditioning power, 3 watts | 90000 |  | 0.64 | 57802.5 | 4
D50202100520 | Fluorescent fixtures recess mounted in ceiling, 1.6 watt per SF, 40 FC, 10 fixtures @32watt per 1000 SF | 112500 |  | 8.11 | 730075.5 | 4
D5030 | Communications and Security |  |  | 1.4 | 126430.04 | 3
D50309100454 | Communication and alarm systems, fire detection, addressable, 50 detectors, includes outlets, boxes, conduit and wire | 2.4 |  | 1.09 | 98216.64 | 4
D50309100462 | Fire alarm command center, addressable with voice, excl.wire & conduit | 2 |  | 0.31 | 28213.4 | 4
D50309200110 | Internet wiring, 8 data/voice outlets per 1000 S.F. | 1 |  | 0 | 0 | 4
D5090 | Other Electrical Systems |  |  | 0.09 | 8477.55 | 3
D50902100240 | Generator sets, w/battery, charger, muffler and transfer switch, gas/gasoline operated, 3 phase, 4 wire, 277/480 V, 11.5 kW | 7.1 |  | 0.09 | 8474.13 | 4
D50902200300 | Uninterruptible power supply with standard battery pack, 15 kVA/12.75 kW | 3 |  | 0 | 3.42 | 4
E | Equipment & Furnishings |  | 14.76 | 23.48 | 2113176.64 | 1
E1020 | Institutional Equipment |  |  | 23.48 | 2113176.64 | 3
E10207100120 | Architectural equipment, laboratory equipment glassware washer, distilled water, deluxe | 4 |  | 1.1 | 98781.6 | 4
E10207100140 | Architectural equipment, laboratory equipment glove box, fiberglass, radio isotope | 4 |  | 1.12 | 100396.8 | 4
E10207100170 | Architectural equipment, laboratory equipment eye wash, hand held | 12 |  | 0.05 | 4721.04 | 4
E10207300110 | Architectural equipment, laboratory equipment, cabinets, wall, open | 600 |  | 1.78 | 160267.2 | 4
E10207300120 | Architectural equipment, laboratory equipment, cabinets, base, drawer units | 600 |  | 13.84 | 1245798 | 4
E10207300140 | Architectural equipment, laboratory equipment fume hoods, not including HVAC, deluxe including fixtures | 40 |  | 5.59 | 503212 | 4
E1090 | Other Equipment |  |  | 0 | 0 | 3
F | Special Construction |  | 0 | 0 | 0 | 1
G | Building Sitework |  | 0 | 0 | 0 | 1
SubTotal |  |  | 100% | $159.04 | $14,313,310.91
Contractor Fees (General Conditions,Overhead,Profit) |  |  | 25.0% | $39.76 | $3,578,327.73
Architectural Fees |  |  | 9.0% | $17.89 | $1,610,247.48
User Fees |  |  | 0.0% | $0.00 | $0.00
Total Building Cost |  |  |  | $216.69 | $19,501,886.11