## 28 Warehouse Pre-Eng Heated
Uniformat | System | Componenet % of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 16500
A1010 | Standard Foundations | 7.0711 | 9.0546 | 149401.3979 | Cost Per Square Foot: | 128.05
A1030 | Slab on Grade | 8.1964 | 10.4956 | 173177.8946 | Building Cost: | 2112848.01
B1020 | Roof Construction | 10.5406 | 13.4974 | 222706.5762
B2010 | Exterior Walls | 22.1711 | 28.3904 | 468440.9032
B2020 | Exterior Windows | 1.2901 | 1.652 | 27258.6913
B2030 | Exterior Doors | 2.3392 | 2.9954 | 49424.624
B3010 | Roof Coverings | 10.8205 | 13.8558 | 228620.9477
B3020 | Roof Openings | 1.6908 | 2.1651 | 35724.5179
C1010 | Partitions | 2.2047 | 2.8232 | 46582.597
C1020 | Interior Doors | 0.64496 | 0.82588 | 13627.092
C2010 | Stair Construction | 1.8951 | 2.4268 | 40041.473
C3010 | Wall Finishes | 1.2202 | 1.5625 | 25780.8876
C3020 | Floor Finishes | 2.3583 | 3.0198 | 49827.0778
C3030 | Ceiling Finishes | 1.9273 | 2.4679 | 40720.1607
D2010 | Plumbing Fixtures | 0.77999 | 0.99879 | 16480.0062
D2020 | Domestic Water Distribution | 0.25924 | 0.33196 | 5477.3701
D2040 | Rain Water Drainage | 0.66608 | 0.85293 | 14073.3355
D3010 | Energy Supply Systems | 0.42198 | 0.54035 | 8915.796
D3020 | Heat Generating Systems | 1.7583 | 2.2515 | 37149.1501
D3030 | Cooling Generating Systems | 1.6879 | 2.1614 | 35663.1841
D3040 | Distribution Systems | 2.6022 | 3.3322 | 54980.7422
D3060 | Controls & Instrumentation | 0.56264 | 0.72047 | 11887.728
D4010 | Sprinklers | 4.8173 | 6.1686 | 101781.3022
D4020 | Standpipes | 0.77001 | 0.986 | 16269.0825
D5010 | Electrical Service/Distribution | 1.2572 | 1.6099 | 26562.5493
D5020 | Lighting and Branch Wiring | 5.2661 | 6.7433 | 111264.5249
D5030 | Communications and Security | 2.7961 | 3.5805 | 59077.6825
E1030 | Vehicular Equipment | 1.9846 | 2.5412 | 41930.6249
Total |  | 100 | 128.0514 | 2112847.9195

## RS Means Heated
| Square Foot Cost Estimate Report |  |  | Date: | 5/20/2025
Estimate Name: | Warehouse Storage Pre Engineered Heated
Building Type: | Warehouse with Pre-Engineered Metal Building / Rigid Steel
Location: | HELENA, MT
Story Count: | 1
Story Height (L.F.): | 24.00
Floor Area (S.F.): | 16500
Labor Type: | STD
Basement Included: | No | [5 empty] | Assembly Customization Type:
Data Release: | Year 2025 Quarter 1 | Costs are derived from a building model with basic components. | [5 empty] | Added
Cost Per Square Foot: | $128.05 | Scope differences and market conditions can cause costs to vary significantly. | [5 empty] | Partially Swapped
Building Cost: | $2,112,848.01 | [6 empty] | Fully Swapped
|  | Quantity | % of Total | Cost Per S.F. | Cost
A | Substructure |  | 15.27 | 14.62 | 241180.78 | 1
A1010 | Standard Foundations |  |  | 6.77 | 111701.98 | 3
A10101051560 | Foundation wall, CIP, 4' wall height, direct chute, .148 CY/LF, 7.2 PLF, 12" thick | 632 |  | 3.99 | 65788.67 | 4
A10101102700 | Strip footing, concrete, reinforced, load 11.1 KLF, soil bearing capacity 6 KSF, 12" deep x 24" wide | 632 |  | 2.15 | 35528.2 | 4
A10102107410 | Spread footings, 3000 PSI concrete, load 100K, soil bearing capacity 6 KSF, 4' - 6" square x 15" deep | 19.25 |  | 0.63 | 10385.11 | 4
A1030 | Slab on Grade |  |  | 7.85 | 129478.8 | 3
A10301203360 | Slab on grade, 5" thick, non industrial, reinforced | 16500 |  | 7.85 | 129478.8 | 4
B | Shell |  | 48.85 | 46.77 | 771720.57 | 1
B1020 | Roof Construction |  |  | 10.09 | 166509.59 | 3
B10201242200 | Roof, steel joists, joist girder, 1.5" 22 ga metal deck, on columns, 30'x30' bay, 40 PSF superimposed load, 21.5" deep, 60 PSF total load | 16500 |  | 7.99 | 131820.98 | 4
B10201242250 | Roof, steel joists, joist girder, 1.5" 22 ga metal deck, on columns, 30'x30' bay, 40 PSF superimposed load, 21.5" deep, 60 PSF total load, add for columns | 16500 |  | 2.1 | 34688.61 | 4
B2010 | Exterior Walls |  |  | 21.23 | 350236.19 | 3
B20101464400 | Metal siding, steel, sandwich panels, factory fabricated, 2" polystyrene, stl. core, 26 ga, galvanized | 14864.64 |  | 16.06 | 264943.63 | 4
B20101543400 | Metal siding support, 18' building height, 20 PSF wind load, 30' column spacing | 14864.64 |  | 4.03 | 66447.17 | 4
B20101543500 | Metal siding support, 18' building height, 20 PSF wind load, 30' column spacing, wind columns | 14864.64 |  | 1.14 | 18845.39 | 4
B2020 | Exterior Windows |  |  | 1.24 | 20380.33 | 3
B20201066650 | Windows, aluminum, sliding, standard glass, 5' x 3' | 20.22 |  | 1.24 | 20380.33 | 4
B2030 | Exterior Doors |  |  | 2.24 | 36952.99 | 3
B20301106950 | Door, aluminum & glass, with transom, narrow stile, double door, hardware, 6'-0" x 10'-0" opening | 0.55 |  | 0.6 | 9832.35 | 4
B20302203450 | Door, steel 18 gauge, hollow metal, 1 door with frame, no label, 3'-0" x 7'-0" opening | 2.2 |  | 0.59 | 9675.6 | 4
B20302204650 | Door, steel 24 gauge, overhead, sectional, electric operator, 12'-0" x 12'-0" opening | 3.3 |  | 1.06 | 17445.04 | 4
B3010 | Roof Coverings |  |  | 10.36 | 170931.55 | 3
B30101203400 | Roofing, single ply membrane, EPDM, 60 mils, loosely laid, stone ballast | 16500 |  | 2.5 | 41321.12 | 4
B30103202700 | Insulation, rigid, roof deck, extruded polystyrene, 40 PSI compressive strength, 4" thick, R20 | 16500 |  | 6.47 | 106804.67 | 4
B30104201400 | Roof edges, aluminum, duranodic, .050" thick, 6" face | 632 |  | 0.94 | 15575.74 | 4
B30106305100 | Gravel stop, aluminum, extruded, 4", mill finish, .050" thick | 632 |  | 0.44 | 7230.02 | 4
B3020 | Roof Openings |  |  | 1.62 | 26709.92 | 3
B30202100300 | Roof hatch, with curb, 1" fiberglass insulation, 2'-6" x 3'-0", galvanized steel, 165 lbs | 1 |  | 0.15 | 2508.68 | 4
B30202102100 | Smoke hatch, unlabeled, galvanized, 2'-6" x 3', not incl hand winch operator | 8 |  | 1.47 | 24201.24 | 4
C | Interiors |  | 10.25 | 9.81 | 161928.44 | 1
C1010 | Partitions |  |  | 2.11 | 34828.11 | 3
C10101045500 | Concrete block (CMU) partition, light weight, hollow, 6" thick, no finish | 475.2 |  | 0.27 | 4446.98 | 4
C10101265400 | Metal partition, 5/8"fire rated gypsum board face, no base,3 -5/8" @ 24" OC framing, same opposite face, no insulation | 844.8 |  | 0.27 | 4428.81 | 4
C10101280700 | Gypsum board, 1 face only, exterior sheathing, fire resistant, 5/8" | 14864.64 |  | 1.05 | 17343.91 | 4
C10101280960 | Add for the following: taping and finishing | 14864.64 |  | 0.52 | 8608.41 | 4
C1020 | Interior Doors |  |  | 0.62 | 10188.48 | 3
C10201022600 | Door, single leaf, kd steel frame, hollow metal, commercial quality, flush, 3'-0" x 7'-0" x 1-3/8" | 6.6 |  | 0.62 | 10188.48 | 4
C2010 | Stair Construction |  |  | 1.81 | 29937.55 | 3
C20101100680 | Stairs, steel, grate type w/nosing & rails, 20 risers, with landing | 2 |  | 1.81 | 29937.55 | 4
C3010 | Wall Finishes |  |  | 1.17 | 19275.43 | 3
C30102202000 | 2 coats paint on masonry with block filler | 950.4 |  | 0.24 | 3983.94 | 4
C30102300140 | Painting, interior on plaster and drywall, walls & ceilings, roller work, primer & 2 coats | 1689.6 |  | 0.09 | 1560.72 | 4
C30102300140 | Painting, interior on plaster and drywall, walls & ceilings, roller work, primer & 2 coats | 14864.64 |  | 0.83 | 13730.77 | 4
C3020 | Floor Finishes |  |  | 2.26 | 37253.89 | 3
C30204100940 | Concrete topping, hardeners, metallic additive, minimum | 7425 |  | 0.58 | 9562.58 | 4
C30204100960 | Concrete topping, hardeners, metallic additive, maximum | 7425 |  | 1.34 | 22175.51 | 4
C30204101600 | Vinyl, composition tile, maximum | 1650 |  | 0.33 | 5515.8 | 4
C3030 | Ceiling Finishes |  |  | 1.85 | 30444.98 | 3
C30302107400 | Acoustic ceilings, 3/4"mineral fiber, 12" x 12" tile, concealed 2" bar & channel grid, suspended support | 1650 |  | 1.85 | 30444.98 | 4
D | Services |  | 23.64 | 22.64 | 373519.66 | 1
D2010 | Plumbing Fixtures |  |  | 0.75 | 12321.5 | 3
D20101102080 | Water closet, vitreous china, bowl only with flush valve, wall hung | 1.1 |  | 0.27 | 4403.38 | 4
D20102102000 | Urinal, vitreous china, wall hung | 0.55 |  | 0.06 | 988.07 | 4
D20103102040 | Lavatory w/trim, wall hung, PE on CI, 18" x 15" | 1.1 |  | 0.12 | 1921.4 | 4
D20104404340 | Service sink w/trim, PE on CI,wall hung w/rim guard, 24" x 20" | 0.55 |  | 0.22 | 3610.59 | 4
D20108201920 | Water cooler, electric, wall hung, wheelchair type, 7.5 GPH | 0.55 |  | 0.08 | 1398.06 | 4
D2020 | Domestic Water Distribution |  |  | 0.25 | 4095.23 | 3
D20202501780 | Gas fired water heater, commercial, 100< F rise, 75.5 MBH input, 63 GPH | 0.55 |  | 0.25 | 4095.23 | 4
D2040 | Rain Water Drainage |  |  | 0.64 | 10522.12 | 3
D20402102120 | Roof drain, DWV PVC, 5" diam, 10' high | 2.75 |  | 0.32 | 5355.65 | 4
D20402106320 | Roof drain, steel galv sch 40 threaded, 5" diam piping, for each additional foot add | 63.2 |  | 0.31 | 5166.47 | 4
D3020 | Heat Generating Systems |  |  | 5.85 | 96448.08 | 3
D30201089000 | Warehouse ventilization with heat system 24,000 CFM Supply and Exhaust | 0.59 |  | 5.85 | 96448.08 | 4
D3050 | Terminal & Package Units |  |  | 0.89 | 14652.25 | 3
D30501503880 | Rooftop, single zone, air conditioner, offices, 3,000 SF, 9.50 ton | 1650 |  | 0.89 | 14652.25 | 4
D4010 | Sprinklers |  |  | 4.61 | 76098.17 | 3
D40104102250 | Wet pipe sprinkler systems, grooved steel, black, sch 40 pipe, ordinary hazard, 1 floor, 10,000 SF | 16500 |  | 4.61 | 76098.17 | 4
D4020 | Standpipes |  |  | 0.74 | 12163.8 | 3
D40203101580 | Wet standpipe risers, class III, steel, black, sch 40, 6" diam pipe, 1 floor | 0.55 |  | 0.74 | 12163.8 | 4
D5010 | Electrical Service/Distribution |  |  | 1.2 | 19859.85 | 3
D50101200280 | Overhead service installation, includes breakers, metering, 20' conduit & wire, 3 phase, 4 wire, 120/208 V, 200 A | 1 |  | 0.19 | 3191 | 4
D50102300280 | Feeder installation 600 V, including RGS conduit and XHHW wire, 200 A | 50 |  | 0.17 | 2748.95 | 4
D50102400200 | Switchgear installation, incl switchboard, panels & circuit breaker, 120/208 V, 3 phase, 400 A | 1 |  | 0.84 | 13919.9 | 4
D5020 | Lighting and Branch Wiring |  |  | 5.04 | 83188.43 | 3
D50201100360 | Receptacles incl plate, box, conduit, wire, 5 per 1000 SF, .6 watts per SF | 16500 |  | 0.76 | 12481.59 | 4
D50201300200 | Wall switches, 1.0 per 1000 SF | 8250 |  | 0.14 | 2363.96 | 4
D50201350200 | Miscellaneous power, to .5 watts | 16500 |  | 0.15 | 2513.61 | 4
D50201400240 | Central air conditioning power, 3 watts | 1650 |  | 0.06 | 1059.71 | 4
D50202100500 | Fluorescent fixtures recess mounted in ceiling, 0.8 watt per SF, 20 FC, 5 fixtures @32 watt per 1000 SF | 14850 |  | 2.95 | 48637.76 | 4
D50202100540 | Fluorescent fixtures recess mounted in ceiling, 2.4 watt per SF, 60 FC, 15 fixtures @ 32 watt per 1000 SF | 1650 |  | 0.98 | 16131.8 | 4
D5030 | Communications and Security |  |  | 2.68 | 44170.23 | 3
D50309100456 | Communication and alarm systems, fire detection, addressable, 100 detectors, includes outlets, boxes, conduit and wire | 0.55 |  | 2.56 | 42301.6 | 4
D50309100460 | Fire alarm command center, addressable without voice, excl. wire & conduit | 0.55 |  | 0.11 | 1868.63 | 4
E | Equipment & Furnishings |  | 1.98 | 1.9 | 31350 | 1
E1030 | Vehicular Equipment |  |  | 1.9 | 31350 | 3
E10303100130 | Architectural equipment, dock boards, heavy duty, 5' x 5', aluminum, 5000 lb capacity | 3.3 |  | 0.3 | 5012.37 | 4
E10303100150 | Architectural equipment, dock levelers, hydraulic, 7' x 8', 10 ton capacity | 3.3 |  | 1.6 | 26337.63 | 4
E1090 | Other Equipment |  |  | 0 | 0 | 3
F | Special Construction |  | 0 | 0 | 0 | 1
G | Building Sitework |  | 0 | 0 | 0 | 1
SubTotal |  |  | 100% | $95.74 | $1,579,699.45
Contractor Fees (General Conditions,Overhead,Profit) |  |  | 25.0% | $23.93 | $394,924.86
Architectural Fees |  |  | 7.0% | $8.38 | $138,223.70
User Fees |  |  | 0.0% | $0.00 | $0.00
Total Building Cost |  |  |  | $128.05 | $2,112,848.01