## 32 School K-12
Uniformat | System | Componenet % of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 50000
A1010 | Standard Foundations | 2.8982 | 8.5325 | 426623.3379 | Cost Per Square Foot: | 294.4
A1030 | Slab on Grade | 3.0782 | 9.0624 | 453117.5812 | Building Cost: | 14720110.4
A2020 | Basement Walls | 2.5272 | 7.4401 | 372005.6962
B1010 | Floor Construction | 13.1443 | 38.6972 | 1934860.2551
B1020 | Roof Construction | 11.0746 | 32.6039 | 1630195.1561
B2010 | Exterior Walls | 4.478 | 13.1833 | 659165.9832
B2020 | Exterior Windows | 3.5312 | 10.396 | 519799.2589
B2030 | Exterior Doors | 0.54146 | 1.5941 | 79704.2331
B3010 | Roof Coverings | 3.8594 | 11.3622 | 568110.7888
B3020 | Roof Openings | 0.28316 | 0.83364 | 41682.1309
C1010 | Partitions | 2.4362 | 7.1722 | 358610.8076
C1020 | Interior Doors | 0.9391 | 2.7647 | 138236.6437
C1030 | Fittings | 3.526 | 10.3806 | 519029.0729
C2010 | Stair Construction | 0.50236 | 1.4789 | 73947.2854
C3010 | Wall Finishes | 2.5023 | 7.3667 | 368335.2217
C3020 | Floor Finishes | 3.7334 | 10.9912 | 549561.2287
C3030 | Ceiling Finishes | 5.08 | 14.9558 | 747787.5562
D1010 | Elevators and Lifts | 0.387 | 1.1393 | 56966.1312
D2010 | Plumbing Fixtures | 3.3048 | 9.7295 | 486472.5441
D2020 | Domestic Water Distribution | 1.7551 | 5.167 | 258352.3426
D2040 | Rain Water Drainage | 0.24338 | 0.71651 | 35825.526
D3010 | Energy Supply | 2.409 | 7.0921 | 354603.1895
D3030 | Cooling Generating Systems | 8.1163 | 23.8946 | 1194730.903
D4010 | Sprinklers | 1.1534 | 3.3956 | 169777.9031
D4020 | Standpipes | 0.24047 | 0.70794 | 35397.0445
D5010 | Electrical Service/Distribution | 1.5038 | 4.4272 | 221361.921
D5020 | Lighting and Branch Wiring | 5.2101 | 15.3387 | 766937.1054
D5030 | Communications and Security | 1.7465 | 5.1418 | 257087.7096
D5090 | Other Electrical Systems | 0.22819 | 0.67179 | 33589.2527
E1020 | Institutional Equipment | 7.8541 | 23.1226 | 1156128.5264
E1090 | Other Equipment | 1.7127 | 5.0422 | 252108.0633
Total |  | 100 | 294.4022 | 14720110.4

## Squarefoot_Estimate
| Square Foot Cost Estimate Report |  |  | Date: | 7/14/2025
Estimate Name: | School K-12
Building Type: | School, High, 2-3 Story with Brick Veneer / Reinforced Concrete
Location: | GREAT FALLS, MT
Story Count: | 1
Story Height (L.F.): | 15.00
Floor Area (S.F.): | 50000
Labor Type: | STD
Basement Included: | Yes | [5 empty] | Assembly Customization Type:
Data Release: | Year 2025 Quarter 2 | Costs are derived from a building model with basic components. | [5 empty] | Added
Cost Per Square Foot: | $294.40 | Scope differences and market conditions can cause costs to vary significantly. | [5 empty] | Partially Swapped
Building Cost: | $14,720,110.40 | [6 empty] | Fully Swapped
|  | Quantity | % of Total | Cost Per S.F. | Cost
A | Substructure |  | 8.5 | 18.72 | 935885.32 | 1
A1010 | Standard Foundations |  |  | 6.38 | 318970.72 | 3
A10101102700 | Strip footing, concrete, reinforced, load 11.1 KLF, soil bearing capacity 6 KSF, 12" deep x 24" wide | 900 |  | 0.98 | 49104 | 4
A10102107700 | Spread footings, 3000 PSI concrete, load 200K, soil bearing capacity 6 KSF, 6' - 0" square x 20" deep | 246.46 |  | 5.4 | 269866.72 | 4
A1030 | Slab on Grade |  |  | 6.78 | 338779.5 | 3
A10301202240 | Slab on grade, 4" thick, non industrial, reinforced | 50000 |  | 6.78 | 338779.5 | 4
A2020 | Basement Walls |  |  | 5.56 | 278135.1 | 3
A20201107260 | Foundation wall, CIP, 12' wall height, pumped, .444 CY/LF, 21.59 PLF, 12" thick | 900 |  | 5.56 | 278135.1 | 4
B | Shell |  | 36.91 | 81.25 | 4062443.22 | 1
B1010 | Floor Construction |  |  | 28.93 | 1446624.49 | 3
B10102030860 | Cast-in-place concrete column, 12" square, tied, 200K load, 12' story height, 142 lbs/LF, 4000PSI | 2957.48 |  | 6.09 | 304332.5 | 4
B10102049918 | Cast-in-place concrete column, 16", square, tied, minimum reinforcing, 300K load, 10'-14' story height, 240 lbs/LF, 4000PSI | 1035 |  | 2.52 | 125944.49 | 4
B10102205100 | Cast-in-place concrete beam and slab, 7.5" slab, two way, 12" column, 25'x25' bay, 40 PSF superimposed load, 149 PSF total load | 1 |  | 0 | 0 | 4
B10102221720 | Flat slab, concrete, with drop panels, 6" slab/2.5" panel, 12" column, 15'x15' bay, 75 PSF superimposed load, 153 PSF total load | 50000 |  | 20.33 | 1016347.5 | 4
B1020 | Roof Construction |  |  | 24.38 | 1218837.5 | 3
B10207257000 | Roof, concrete, beam and slab, 25'x25' bay, 40 PSF superimposed load, 20" deep beam, 9" slab, 152 PSF total load | 50000 |  | 24.38 | 1218837.5 | 4
B2010 | Exterior Walls |  |  | 9.86 | 492834.38 | 3
B20101321201 | Brick wall, composite double wythe, standard face/CMU back-up, 8" thick, perlite core fill, 3" XPS | 10125 |  | 9.86 | 492834.38 | 4
B2020 | Exterior Windows |  |  | 7.77 | 388634.96 | 3
B20202102100 | Aluminum flush tube frame, thermo-break frame, 2.25" x 4.5", 5'x6' opening, 2 intermediate horizontals | 3375 |  | 3.65 | 182412 | 4
B20202201100 | Glazing panel, insulating, 1/2" thick, 2 lites 1/8" float glass, tinted | 3375 |  | 4.12 | 206222.96 | 4
B2030 | Exterior Doors |  |  | 1.19 | 59591.95 | 3
B20301106950 | Door, aluminum & glass, with transom, narrow stile, double door, hardware, 6'-0" x 10'-0" opening | 1.15 |  | 0.38 | 19226.39 | 4
B20302203450 | Door, steel 18 gauge, hollow metal, 1 door with frame, no label, 3'-0" x 7'-0" opening | 9.23 |  | 0.77 | 38669.54 | 4
B20302204350 | Door, steel 24 gauge, overhead, sectional, manual operation, 8'-0" x 8'-0" opening | 0.77 |  | 0.03 | 1696.02 | 4
B3010 | Roof Coverings |  |  | 8.5 | 424755.73 | 3
B30101203400 | Roofing, single ply membrane, EPDM, 60 mils, loosely laid, stone ballast | 50000 |  | 2.12 | 106032.5 | 4
B30103202700 | Insulation, rigid, roof deck, extruded polystyrene, 40 PSI compressive strength, 4" thick, R20 | 50000 |  | 5.41 | 270699 | 4
B30104101300 | Base flashing, aluminum, .016" thick, fabric 2 sides, .025" aluminum reglet, .032" counter flashing | 900 |  | 0.56 | 28234.98 | 4
B30104201400 | Roof edges, aluminum, duranodic, .050" thick, 6" face | 900 |  | 0.4 | 19789.25 | 4
B3020 | Roof Openings |  |  | 0.62 | 31164.21 | 3
B30202100300 | Roof hatch, with curb, 1" fiberglass insulation, 2'-6" x 3'-0", galvanized steel, 165 lbs | 10 |  | 0.43 | 21254.25 | 4
B30202102100 | Smoke hatch, unlabeled, galvanized, 2'-6" x 3', not incl hand winch operator | 3.85 |  | 0.2 | 9909.96 | 4
C | Interiors |  | 18.72 | 41.2 | 2060192.76 | 1
C1010 | Partitions |  |  | 5.36 | 268120.23 | 3
C10101045500 | Concrete block (CMU) partition, light weight, hollow, 6" thick, no finish | 2400 |  | 0.48 | 23884.49 | 4
C10101049000 | Concrete block (CMU) partition, light weight, hollow, 6" thick, no finish, foamed in insulation | 21600 |  | 4.88 | 244235.74 | 4
C1020 | Interior Doors |  |  | 2.07 | 103354.5 | 3
C10201022600 | Door, single leaf, kd steel frame, hollow metal, commercial quality, flush, 3'-0" x 7'-0" x 1-3/8" | 71.43 |  | 2.07 | 103354.5 | 4
C1030 | Fittings |  |  | 7.76 | 388059.12 | 3
C10301100400 | Toilet partitions, cubicles, ceiling hung, painted metal | 50 |  | 1.2 | 59967.75 | 4
C10303100200 | Lockers, steel, 1- tier, std.duty, 5' to 6' high, per opening, 1 wide, knock down constr. | 1153.85 |  | 6.11 | 305522.31 | 4
C10305200240 | Chalkboards, liquid chalk type, aluminum frame & chalktrough | 1000 |  | 0.45 | 22569.06 | 4
C2010 | Stair Construction |  |  | 1.11 | 55287.69 | 3
C20101100720 | Stairs, steel, pan tread for conc in-fill, picket rail,12 risers w/ landing | 3.85 |  | 1.11 | 55287.69 | 4
C3010 | Wall Finishes |  |  | 5.51 | 275390.82 | 3
C30102202000 | 2 coats paint on masonry with block filler | 10125 |  | 0.88 | 43787.99 | 4
C30102202000 | 2 coats paint on masonry with block filler | 43200 |  | 3.74 | 186828.77 | 4
C30102301940 | Ceramic tile, thin set, 4-1/4" x 4-1/4" | 4800 |  | 0.9 | 44774.06 | 4
C3020 | Floor Finishes |  |  | 8.22 | 410886.9 | 3
C30204100160 | Carpet, tufted, nylon, roll goods, 12' wide, 36 oz | 5000 |  | 0.59 | 29710.35 | 4
C30204100220 | Carpet, padding, add to above, 2.7 density | 5000 |  | 0.12 | 5814.15 | 4
C30204101120 | Terrazzo, maximum | 5000 |  | 3.03 | 151284 | 4
C30204101600 | Vinyl, composition tile, maximum | 30000 |  | 2.07 | 103475.7 | 4
C30204102160 | Oak strip, sanded and finished, minimum | 10000 |  | 2.12 | 105850.5 | 4
C30204102340 | Underlayment, plywood, 3/8" thick | 10000 |  | 0.3 | 14752.2 | 4
C3030 | Ceiling Finishes |  |  | 11.18 | 559093.5 | 3
C30302106000 | Acoustic ceilings, 3/4" fiberglass board, 24" x 48" tile, tee grid, suspended support | 50000 |  | 11.18 | 559093.5 | 4
D | Services |  | 26.3 | 57.89 | 2894281.55 | 1
D1010 | Elevators and Lifts |  |  | 0.85 | 42591.5 | 3
D10101108600 | Hydraulic passenger elevator, 2500 lb., 2 floor, 125 FPM | 0.38 |  | 0.85 | 42591.5 | 4
D2010 | Plumbing Fixtures |  |  | 7.27 | 363717.79 | 3
D20101102120 | Water closet, vitreous china, bowl only with flush valve, floor mount | 50 |  | 1.88 | 93868.5 | 4
D20102102000 | Urinal, vitreous china, wall hung | 16.54 |  | 0.61 | 30370.57 | 4
D20103102120 | Lavatory w/trim, wall hung, PE on CI, 20" x 18" | 50 |  | 1.7 | 85190.25 | 4
D20104102040 | Kitchen sink w/trim, countertop, stainless steel, 44" x 22" triple bowl | 3.46 |  | 0.18 | 8836.53 | 4
D20104301840 | Lab sink w/trim, polyethylene, single bowl, flanged, 23-1/2" x 20-1/2" OD | 4.62 |  | 0.15 | 7560.14 | 4
D20104404260 | Service sink w/trim, PE on CI, corner floor, 28" x 28", w/rim guard | 2.31 |  | 0.24 | 12234.98 | 4
D20107101680 | Shower, stall, baked enamel, terrazzo receptor, 36" square | 16.54 |  | 1.21 | 60637.44 | 4
D20108201920 | Water cooler, electric, wall hung, wheelchair type, 7.5 GPH | 25 |  | 1.3 | 65019.38 | 4
D2020 | Domestic Water Distribution |  |  | 3.86 | 193160.63 | 3
D20202502260 | Gas fired water heater, commercial, 100< F rise, 600 MBH input, 576 GPH | 5 |  | 3.86 | 193160.63 | 4
D2040 | Rain Water Drainage |  |  | 0.54 | 26785.44 | 3
D20402104280 | Roof drain, CI, soil,single hub, 5" diam, 10' high | 7.69 |  | 0.48 | 23872.5 | 4
D20402104320 | Roof drain, CI, soil,single hub, 5" diam, for each additional foot add | 38.46 |  | 0.06 | 2912.94 | 4
D3010 | Energy Supply |  |  | 5.3 | 265123.88 | 3
D30105202040 | Commercial building heating system, fin tube radiation, forced hot water, 100,000 SF, 1mil CF, total 3 floors | 57500 |  | 5.3 | 265123.88 | 4
D3030 | Cooling Generating Systems |  |  | 17.87 | 893256.75 | 3
D30301154600 | Packaged chiller, water cooled, with fan coil unit, schools and colleges, 60,000 SF, 230.00 ton | 57500 |  | 17.87 | 893256.75 | 4
D4010 | Sprinklers |  |  | 2.54 | 126936.75 | 3
D40104100640 | Wet pipe sprinkler systems, steel, light hazard, 1 floor, 50,000 SF | 25000 |  | 1.48 | 73864.5 | 4
D40104100760 | Wet pipe sprinkler systems, steel, light hazard, each additional floor, 50,000 SF | 25000 |  | 1.06 | 53072.25 | 4
D4020 | Standpipes |  |  | 0.53 | 26465.08 | 3
D40203101580 | Wet standpipe risers, class III, steel, black, sch 40, 6" diam pipe, 1 floor | 0.77 |  | 0.35 | 17321.77 | 4
D40203101600 | Wet standpipe risers, class III, steel, black, sch 40, 6" diam pipe, additional floors | 1.54 |  | 0.18 | 9143.31 | 4
D5010 | Electrical Service/Distribution |  |  | 3.31 | 165504.24 | 3
D50101200560 | Overhead service installation, includes breakers, metering, 20' conduit & wire, 3 phase, 4 wire, 120/208 V, 2000 A | 1.25 |  | 1.04 | 52106.38 | 4
D50102300560 | Feeder installation 600 V, including RGS conduit and XHHW wire, 2000 A | 100 |  | 1.22 | 61179.5 | 4
D50102400400 | Switchgear installation, incl switchboard, panels & circuit breaker, 120/208 V, 3 phase, 2000 A | 1.2 |  | 1.04 | 52218.36 | 4
D5020 | Lighting and Branch Wiring |  |  | 11.47 | 573410.92 | 3
D50201100480 | Receptacles incl plate, box, conduit, wire, 8 per 1000 SF, .9 W per SF, with transformer | 50000 |  | 3.41 | 170391.5 | 4
D50201300280 | Wall switches, 2.0 per 1000 SF | 50000 |  | 0.46 | 23040.5 | 4
D50201350320 | Miscellaneous power, 1.2 watts | 50000 |  | 0.34 | 16807.5 | 4
D50201400280 | Central air conditioning power, 4 watts | 50000 |  | 0.64 | 32131.5 | 4
D50201452080 | Motor installation, three phase, 460 V, 15 HP motor size | 1 |  | 0.05 | 2623.23 | 4
D50201550440 | Motor feeder systems, three phase, feed to 200 V 5 HP, 230 V 7.5 HP, 460 V 15 HP, 575 V 20 HP | 100 |  | 0.02 | 1131.69 | 4
D50202100520 | Fluorescent fixtures recess mounted in ceiling, 1.6 watt per SF, 40 FC, 10 fixtures @32watt per 1000 SF | 50000 |  | 6.55 | 327285 | 4
D5030 | Communications and Security |  |  | 3.84 | 192215.11 | 3
D50309100280 | Communication and alarm systems, includes outlets, boxes, conduit and wire, sound systems, 100 outlets | 0.35 |  | 0.95 | 47251.23 | 4
D50309100456 | Communication and alarm systems, fire detection, addressable, 100 detectors, includes outlets, boxes, conduit and wire | 0.58 |  | 0.89 | 44636.25 | 4
D50309100462 | Fire alarm command center, addressable with voice, excl.wire & conduit | 0.38 |  | 0.11 | 5479.85 | 4
D50309100840 | Communication and alarm systems, includes outlets, boxes, conduit and wire, master clock systems, 50 rooms | 0.27 |  | 0.54 | 27008.67 | 4
D50309101040 | Communication and alarm systems, includes outlets, boxes, conduit and wire, master TV antenna systems,100 outlets | 0.5 |  | 1.36 | 67839.11 | 4
D50309200102 | Internet wiring, 2 data/voice outlets per 1000 S.F. | 1 |  | 0 | 0 | 4
D5090 | Other Electrical Systems |  |  | 0.5 | 25113.46 | 3
D50902100880 | Generator sets, w/battery, charger, muffler and transfer switch, diesel engine with fuel tank, 250 kW | 96.15 |  | 0.5 | 25113.46 | 4
E | Equipment & Furnishings |  | 9.57 | 21.06 | 1052887.17 | 1
E1020 | Institutional Equipment |  |  | 17.29 | 864395.16 | 3
E10207200100 | Architectural equipment, laboratory equipment, counter tops, acid proof, economy | 5000 |  | 9.26 | 463200 | 4
E10207300110 | Architectural equipment, laboratory equipment, cabinets, wall, open | 180 |  | 0.96 | 47808.36 | 4
E10207300120 | Architectural equipment, laboratory equipment, cabinets, base, drawer units | 180 |  | 7.07 | 353386.8 | 4
E1090 | Other Equipment |  |  | 3.77 | 188492.01 | 3
E10906100120 | Architectural equipment, school equipment basketball backstops, suspended type, electrically operated | 1.54 |  | 0.19 | 9422.77 | 4
E10906100130 | Architectural equipment, school equipment bleachers-telescoping, manual operation, 15 tier, economy (per seat) | 1153.85 |  | 3.52 | 176081.54 | 4
E10906100150 | Architectural equipment, school equipment, weight lifting gym, universal, economy | 1.54 |  | 0.04 | 1804.25 | 4
E10906100170 | Architectural equipment, school equipment, scoreboards, basketball, 1 side, economy | 0.77 |  | 0.02 | 1183.45 | 4
F | Special Construction |  | 0 | 0 | 0 | 1
G | Building Sitework |  | 0 | 0 | 0 | 1
SubTotal |  |  | 100% | $220.11 | $11,005,690.02
Contractor Fees (General Conditions,Overhead,Profit) |  |  | 25.0% | $55.03 | $2,751,422.51
Architectural Fees |  |  | 7.0% | $19.26 | $962,997.88
User Fees |  |  | 0.0% | $0.00 | $0.00
Total Building Cost |  |  |  | $294.40 | $14,720,110.40